Chapter 22 Steel

Diagram

CALIFORNIA BUILDING CODE — MATRIX ADOPTION TABLE
CHAPTER 22 — STEEL

(Matrix Adoption Tables are nonregulatory, intended only as an aid to the code user.
See Chapter 1 for state agency authority and building applications.)

| Adopting agency | BSC | BSC- CG | SFM | HCD |  |  | DSA |  |  | OSHPD |  |  |  |  |  |  | BSCC | DPH | AGR | DWR | CEC | CA | SL | SLC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1 | 2 | 1/AC | AC | SS | SS/CC | 1 | 1R | 2 | 3 | 4 | 5 | 6 |  |  |  |  |  |  |  |  |
|  | Adopt entire chapter | X |  |  | X | X |  |  |  |  |  |  |  | X |  |  | X |  |  |  |  |  |  |  |
| Adopt entire chapter as amended (amended sections listed below) |  |  |  |  |  |  |  |  | X |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| Adopt only those sections that are listed below |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Chapter / Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2201.1.1 |  |  |  |  |  |  |  |  | X |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2201.1.2 |  |  |  |  |  |  |  |  | X |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2201.1.3 |  |  |  |  |  |  |  |  | X |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2201.1.4 |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2201.1.5 |  |  |  |  |  |  |  |  | X |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2201.4.1 |  |  |  |  |  |  |  |  |  |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2201.5.1 |  |  |  |  |  |  |  |  |  |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2202.1 |  |  |  |  |  |  |  |  |  |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2202.2.1.2 |  |  |  |  |  |  |  |  |  |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2202.2.2 |  |  |  |  |  |  |  |  |  |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2202.3 |  |  |  |  |  |  |  |  |  |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2202.4 |  |  |  |  |  |  |  |  |  |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2202.2.1 |  |  |  |  |  |  |  |  |  |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2207.4 |  |  |  |  |  |  |  |  |  |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2207.6 |  |  |  |  |  |  |  |  |  |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2214.1 |  |  |  |  |  |  |  |  |  |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2208.1 |  |  |  |  |  |  |  |  |  |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2204.2 |  |  |  |  |  |  |  |  |  |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2206.1.1.2 |  |  |  |  |  |  |  |  |  |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2206.1.3 |  |  |  |  |  |  |  |  |  |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2206.2 |  |  |  |  |  |  |  |  |  |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |
| 2215 |  |  |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2216 |  |  |  |  |  |  |  |  |  |  | X | X |  |  | X |  |  |  |  |  |  |  |  |  |

The state agency does not adopt sections identified with the following symbol: †

The Office of the State Fire Marshal's adoption of this chapter or individual sections is applicable to structures regulated by other state agencies pursuant to Section 1.11.

User notes:

About this chapter: Chapter 22 provides the minimum requirements for the design and construction of structural steel (including composite construction), cold-formed steel, steel joists, steel cable structures and steel storage racks. This chapter specifies appropriate design and construction standards for these types of structures. It also provides a road map of the applicable technical requirements for steel structures. Chapter 22 requires that the design and use of steel structures and components be in accordance with the applicable specifications and standards of the American Institute of Steel Construction, the American Iron and Steel Institute, the Steel Joist Institute and the American Society of Civil Engineers.

This chapter was extensively reorganized for the 2024 edition. For complete information, see the relocations table in the Preface information of this code.

ICC code development note: Code change proposals to this chapter will be considered by the IBC—Structural Code Development Committee during the 2025 (Group B) Code Development Cycle.

UpCodes Diagrams (3)

Example: CMU on Metal Deck

Beam Pocket

Elevator Sill Depression: Example

Section 2201 General

2201.1 Scope

The provisions of this chapter govern the quality, design, fabrication and erection of steel construction.

2201.1.1 Application

[DSA-SS/CC, OSHPD] The scope of application of Chapter 22 is as follows:

- Structures regulated by the Department of Health Care Access and Information/Office of Statewide Hospital Planning and Development (OSHPD), which include hospital buildings removed from general acute care service, skilled nursing facility buildings, intermediate care facility buildings and acute psychiatric hospital buildings, as listed in Sections 1.10.1, 1.10.2 and 1.10.5.

- Structures regulated by the Division of the State Architect-Structural Safety/Community Colleges (DSA-SS/CC), which include those applications listed in Section 1.9.2.2.

2201.1.2 Amendments in This Chapter

[DSA-SS/CC, OSHPD] DSA-SS/CC, OSHPD adopt this chapter as amended.

2201.1.3 Identification of Amendments

[DSA-SS/CC, OSHPD]

- [OSHPD 1R, 2 & 5] Office of Statewide Hospital Planning and Development (OSHPD) amendments appear in this chapter preceded by the appropriate acronym, as follows:

  - [OSHPD 1R] - For applications listed in Section 1.10.1.

  - [OSHPD 2] - For applications listed in Section 1.10.2.

  - [OSHPD 5] - For applications listed in Section 1.10.5

- [DSA-SS/CC] Division of the State Architect - Structural Safety/Community Colleges amendments appear in this chapter preceded by the appropriate acronym, as follows:

[DSA-SS/CC] - For applications listed in Section 1.9.2.2

2201.1.4 Reference to Other Chapters

[DSA-SS/CC] Where reference within this chapter is made to sections in Chapter 17, the provisions in Chapter 17A shall apply instead.

2201.1.5 Additional Amendments

[DSA-SS/CC] See Section 2215 for additional requirements.

[OSHPD 1R, 2 & 5] See Section 2213 for additional requirements.

2201.2 Identification

Identification of steel members shall be in accordance with the applicable referenced standards within this chapter. Other steel furnished for structural load-carrying purposes shall be identified for conformity to the ordered grade in accordance with the specified ASTM standard or other specification and the provisions of this chapter. Where the steel grade is not readily identifiable from marking and test records, the steel shall be tested to verify conformity to such standards.

2201.3 Protection

The protection of steel members shall be in accordance with the applicable referenced standards within this chapter.

2201.4 Connections

The design and installation of steel connections shall be in accordance with the applicable referenced standards within this chapter. For special inspection of welding or installation of high-strength bolts, see Section 1705.2.

2201.4.1 Restrained Welded Connections

[OSHPD 1R, 2 & 5] Welded structural steel connections having a medium or high level of restraint, as defined by AWS D1.1 Annex H, shall have a minimum pre-heat temperature of not less than 150°F (66°C). Welded structural steel connections with welds to flange, web, wall or plate having a high level of restraint shall maintain a post-heat temperature of 300°F (149°C) for a minimum of 1 hour after completion of welding.

2201.5 Anchor Rods

Anchor rods shall be set in accordance with the approved construction documents. The protrusion of the threaded ends through the connected material shall fully engage the threads of the nuts, but shall not be greater than the length of the threaded portion of the bolts.

2201.5.1 Shear Transfer at Column Base Plate

[OSHPD 1R, 2 & 5] Where the holes in column base plates are more than 1/8 inch (3 mm) larger than the anchor rods, as permitted by AISC 360, the anchor rods shall be designed for the induced bending stresses in combination with axial and shear stresses. Alternatively, shear lugs designed in accordance with ACI 318 Section 17.11 shall be permitted to transfer shear forces between column base plates and the supporting structure.

Section 2202 Structural Steel and Composite Structural Steel and Concrete

2202.1 General

The design, fabrication and erection of structural steel elements and composite structural steel and concrete elements in buildings, structures and portions thereof shall be in accordance with AISC 360.

Exceptions: [OSHPD 1R, 2 & 5]

- For members designed based on tension, the slenderness ratio (L/r) shall not exceed 300, except for the design of hangers and bracing in accordance with NFPA 13 and for rod hangers in tension.

- For members designed based on compression, the slenderness ratio (KL/r) shall not exceed 200, except for the design of hangers and bracing in accordance with NFPA 13.

2202.2 Seismic Design

Where required, the seismic design, fabrication and erection of buildings, structures and portions thereof shall be in accordance with Section 2202.2.1 or 2202.2.2, as applicable.

2202.2.1 Structural Steel Seismic Force-Resisting Systems and Composite Structural Steel and Concrete Seismic Force-Resisting Systems

The design, detailing, fabrication and erection of structural steel seismic force-resisting systems and composite structural steel and concrete seismic force-resisting systems shall be in accordance with the provisions of Section 2202.2.1.1 or 2202.2.1.2, as applicable.

[OSHPD 1R, 2 & 5] Seismic requirements for composite structural steel and concrete construction shall be considered as an alternative system, except as permitted by Section 2202.4.1.

2202.2.1.1 Seismic Design Category B or C

Structures assigned to Seismic Design Category B or C shall be of any construction permitted in Section 2202. Where a response modification coefficient, R, in accordance with ASCE 7, Table 12.2-1, is used for the design of structures assigned to Seismic Design Category B or C, the structures shall be designed and detailed in accordance with the requirements of AISC 341. Beam-to-column moment connections in structural steel special moment frames and intermediate moment frames shall be prequalified in accordance with AISC 341, Section K1, qualified by testing in accordance with AISC 341, Section K2, or shall be prequalified in accordance with AISC 358.

Exception: The response modification coefficient, R, designated for "Steel systems not specifically detailed for seismic resistance, excluding cantilever column systems" in ASCE 7, Table 12.2-1, shall be permitted for structural steel systems designed and detailed in accordance with AISC 360, and need not be designed and detailed in accordance with AISC 341.

2202.2.1.2 Seismic Design Category D, E or F

Structures assigned to Seismic Design Category D, E or F shall be designed and detailed in accordance with AISC 341, except as permitted in ASCE 7, Table 15.4-1. Beam-to-column moment connections in structural steel special moment frames and intermediate moment frames shall be prequalified in accordance with AISC 341, Section K1, qualified by testing in accordance with AISC 341, Section K2, or shall be prequalified in accordance with AISC 358.

[OSHPD 1R, 2 & 5] All structural steel seismic force-resisting systems in ASCE 7 Table 15.4-1 shall be designed in accordance with AISC 341.

2202.2.2 Structural Steel Elements

The design, detailing, fabrication and erection of structural steel elements in seismic force-resisting systems other than those covered in Section 2202.2.1, including struts, collectors, chords and foundation elements, shall be in accordance with AISC 341 where either of the following applies:

- The structure is assigned to Seismic Design Category D, E or F, except as permitted in ASCE 7, Table 15.4-1.

- A response modification coefficient, R, greater than 3 in accordance with ASCE 7, Table 12.2-1, is used for the design of the structure assigned to Seismic Design Category B or C.

[OSHPD 1R, 2 & 5] All structural steel elements in seismic force-resisting systems shall satisfy the requirements in AISC 341.

2202.3 Modifications to AISC 341

[OSHPD 1R, 2 & 5]

2202.3.1 Section A4

Modify Section A4.1 Item (c) by adding the following:

(c) Locations and dimensions of protected zones. The fabricator shall permanently mark protected zones of structural elements in the seismic force-resisting system in the building that are designated on the construction documents. If these markings are obscured during construction, such as after the application of fire protection, the owner's designated representative shall re-mark the protected zones as they are designated on the construction documents. Primers or paints used to mark protected zones on steel surfaces, which are to receive sprayed fire-resistance material, shall comply with California Building Code Section 704.13.3.2.

2202.3.2 Section I2

Replace Section I2.1 item (d) as follows:

(d) Decking attachments that penetrate the beam flange shall not be placed on beam flanges within the protected zone, except power-actuated fasteners up to 0.18 in. diameter are permitted, provided that the penetration is less than 85% of beam flange thickness.

2202.4 Modifications to AISC 358

[OSHPD 1R, 2 & 5]

2202.4.1 Modifications to AISC 358 Chapter 10

Steel and concrete ConXtech ConXL composite special moment frame connections shall be permitted, provided:

- Beams are provided with Reduced Beam Sections (RBS);

- Web extension to beam web two-sided fillet welds are sized to develop expected strength of the beam web and shall not be less than a 1/4 inch fillet weld; and

- The built-up box column wall thickness shall not be less than 1.25 inches and the HSS column wall thickness shall not be less than 1/2 inch.

2202.4.2 Modifications to AISC 358 Chapter 11 Welded Moment Connection

The welded sideplate steel moment connection shall be permitted, provided:

- The beams shall consist of either rolled or built-up wide flange sections.

- The biaxial dual-strong axis and column minor axis configurations of the moment connection shall be considered as an alternative system.

- For SMF and IMF systems, U-shaped cover plates shall be used and the hinge-to-hinge span to beam depth, Lh/d, shall be greater than or equal to 5.

- The width-to-thickness ratios for beam flanges shall not be less than 3.

- The spacing for lateral bracing of wide flange beams, Lb, shall include the length of the side plate at beam ends.

- The extension of the side plates beyond the face of the column shall be within the range of 0.77d to 1.0d.

- The gap-to-side plate thickness ratio shall range from 2.1 to 2.3.

Exception: The gap-to-side plate thickness ratio shall be permitted to be modified for moment connections with unequal beam sizes on opposite sides of the column or when orthogonal beams acting as drag connections frame into the side plate.

- Demand critical fillet welds {2}, {5}, {5a} and {7} shall have Magnetic Particle Testing (MT) in accordance with AWS D1.1 for procedure, technique and acceptance. Inspect the beginning and end of these welds for a 6-inch length, plus any location along the length of the weld where a start and restart is visually noted for a distance of 6 inches on either side of the start/stop location.

2202.4.3 Modifications to AISC 358 Chapter 11 Bolted Moment Connection

The bolted sideplate steel moment connection shall be permitted, provided:

- The beams shall consist of either rolled or built-up wide flange sections. Columns shall consist of rolled or built-up wide flange sections or noncomposite built-up box or HSS with a minimum wall thickness of 3/4 inch (19 mm), or satisfy the requirements of width-to-thickness ratios of highly ductile members in AISC 341-16.

- The biaxial dual-strong axis and column minor axis configurations of the moment connection shall be considered as an alternative system.

- For SMF and IMF systems, on the sideplate standard or configuration A the U-shaped cover plates shall be used with the k dimension extension. The k dimension extension length is defined as beam depth db/6, rounded to the nearest 1/2 inch (12.7 mm).

- The hinge-to-hinge span to beam depth, Lh/d, shall be greater than or equal to 4.5.

- The width-to-thickness ratios for beam flanges shall not be less than 3.5.

Exception: For width-to-thickness ratios less than 3.5 the Cpr shall be calculated in accordance with that for welded sideplate connections but in no case shall the width-to-thickness ratio be less than 3.0.

- The minimum bolt-to-bolt spacing shall not be less than 3 bolt diameters.

- The extension of the side plates beyond the face of the column shall be within the range of 0.65d to 1.5d.

- The gap-to-side plate thickness ratio shall range from 2.1 to 2.3.

Exception: The gap-to-side plate thickness ratio shall be permitted to be modified for moment connections with unequal beam sizes on opposite sides of the column or when orthogonal beams acting as drag connections frame into the side plate.

- Demand Critical fillet welds {2}, {5}, {5a} and {8} shall have Magnetic Particle Testing (MT) in accordance with AWS D1.1 for procedure, technique and acceptance. Inspect the beginning and end of these welds for a 6-inch (152 mm) length, plus any location along the length of the weld where a start and restart is visually noted for a distance of 6 inches (152 mm) on either side of the start/stop location.

- The connection specific factor to account for peak connection strength, Cpr, shall be between 1.15 and 1.35. Calculations shall be submitted to OSHPD for review and approval.

- For in-plane collectors transferring axial loads into the sideplate connection, coordination between sideplate and the registered design professional in responsible charge will be required to confirm the collector connection is sufficient to transfer the load into the moment frame system. This requirement shall be satisfied by designing the sideplate connections in the first bay of a multi-bay sideplate moment frame or an end bay to have a minimum connection capacity, including combined shear (Vu + Vg) and moment (Mpr) demands, of at least 1.2 times the Mpr at the plastic hinge location when the axial load, as determined by ASCE 7, Section 12.10.2.1 without Ωo, exceeds 0.1 FyAg of the sideplate beam.

- A complete frame analysis for gravity and design wind loading using LRFD load combinations in Section 1605.1 shall be performed including Demand/Capacity Ratios. Frame beam member nominal moment strengths (Mn) used for gravity and design wind loading for the bolted sideplate connection using Class A or Class B faying surfaces shall be taken as 0.80FyZ for frame beams up to 300 plf and 0.60FyZ for frame beams greater than 300 plf.

- For moment frame beams with maximum beam shear greater than 90 percent of the vertical bolt shear capacity, a secondary check is to be provided to confirm the vertical bolt shear capacities are sufficient.

- Bolted sideplate connections used on heavy-shallow frame beams for beams greater than 200 plf and shallower than 24 inches (610 mm) in depth shall be considered as an alternative system.

- Skewed beams shall utilize the link-beam fabrication method with CJP welded splices for skew angles. The skew angle shall be less than 15 degrees.

- For two-sided bolted sideplate connections sharing the same side plates at the same height and depth across the column, the vertical offset in the beams shall not exceed 10 inches (254 mm).

2202.4.4 Modifications to AISC 358 Chapter 12

The Simpson Strong-Tie (SST) Strong Frame bolted moment connection shall be permitted, provided:

- Only T-stub yield links are permitted. End plate yield links are not permitted.

- The biaxial dual-strong axis and column minor axis configurations of the moment connection shall be considered as an alternative system.

- Beam flange width-to-thickness ratio shall satisfy AISC 341 Table D1.1b.

- Yield-Link stem-to-beam flange connection bolts shall not slip under wind design demand loads. Yield-Link stem-to-beam flange connection shall be designed to prevent slip using AISC 360 Equation J3-4, where the slip resistance, µ, is taken to be 0.3.

- Double shear plate connection is permitted to increase connection axial capacity for collector loads. A partial joint penetration (PJP) groove weld for second shear plate is permissible due to space restrictions.

2202.4.5 Modifications to AISC 358 Chapter 15

The DuraFuse Frames (DFF) bolted moment connection shall be permitted, provided:

- The biaxial dual-strong axis and column minor axis configurations of the moment connection shall be considered as an alternative system.

- DFF connection bolts shall not slip under wind design demand loads. The connection shall be designed to prevent slip using AISC 360 Equation J3-4, where the slip resistance is taken to be 0.3.

- Beam flange width-to-thickness ratio shall satisfy AISC 341 Table D1.1b.

- The beam weight shall be limited to a maximum of 232 pounds per foot (345 kg/m).

Section 2203 Structural Stainless Steel

2203.1 General

The design, manufacture and erection of austenitic and duplex structural stainless steel shall be in accordance with AISC 370.

Section 2204 Cold-Formed Steel

Building product (1)

PINK Next Gen™ Sound Attenuation Batts (SAB) Metal Framing

Owens Corning

2204.1 General

Assembly

The design of cold-formed carbon and low-alloy steel structural members not covered in Sections 2206 through 2209 shall be in accordance with AISI S100. The design of cold-formed steel diaphragms shall be in accordance with additional provisions of AISI S310 as applicable. Where required, the seismic design of cold-formed steel structures shall be in accordance with the additional provisions of Section 2204.2.

Assemblies (25)

WP 1616: 2hr, 45-49 STC, Steel Stud

8-1.1: 4hr Steel

5-2.1: 2hr Reinforced conc.

6-1.1: 1hr & 2hr, Steel

6-2.1: 3hr Steel

6-5.1: 2hr Steel

6-3.1: 1hr Steel

9-1.1: 4hr Steel

6-4.1: 2hr Steel - Opt. 2 & 3

6-4.1: 2hr Steel - Opt. 1

Show 15 more

2204.2 Seismic Design

The design and detailing of cold-formed steel seismic force-resisting systems shall be in accordance with Sections 2204.2.1 and 2204.2.2, as applicable.

[OSHPD 1R, 2 & 5] Cold-formed steel structures shall be designed and detailed in accordance with the requirements of AISI S100 and AISI S400. Cold-formed steel special bolted moment frames are not permitted by OSHPD.

2204.2.1 CFS Special Bolted Moment Frames

Where a response modification coefficient, R, in accordance with ASCE 7, Table 12.2-1, is used for the design of cold-formed steel special bolted moment frames, the structures shall be designed and detailed in accordance with the requirements of AISI S400.

2204.2.2 Cold-Formed Steel Seismic Force-Resisting Systems

The response modification coefficient, R, designated in ASCE 7 Table 12.2-1 for "Steel systems not specifically detailed for seismic resistance, excluding cantilever column systems" shall be permitted for systems designed and detailed in accordance with AISI S100. Such systems need not be designed and detailed in accordance with AISI S400.

Section 2205 Cold-Formed Stainless Steel

2205.1 General

The design of cold-formed stainless steel structural members shall be in accordance with ASCE 8.

[OSHPD 1R, 2 & 5] Modify AISI S100 Chapter J (Connections and Joints, Section J7.2) by the following: Power-actuated fastener allowable design strength shall not exceed that permitted in the evaluation report qualified by ICC AC 70 or ASCE 7, Section 13.4.5.

Section 2206 Cold-Formed Steel Light-Frame Construction

Assembly

Assemblies (49)

2206.1 Structural Framing

Diagram

For cold-formed steel light-frame construction, the design and installation of the following structural framing systems, including their members and connections, shall be in accordance with AISI S240, and Sections 2206.1.1 through 2206.1.3, as applicable:

- Floor and roof systems.

- Structural walls.

- Shear walls, strap-braced walls and diaphragms that resist in-plane lateral loads.

- Trusses.

UpCodes Diagram (1)

Primary

Light Gauge Steel Joist Web Stiffeners

Building product (1)

SMARTci® (on open framing)

Advanced Architectural Products

2206.1.1 Seismic Requirements for Cold-Formed Steel Structural Systems

The design of cold-formed steel light-frame construction to resist seismic forces shall be in accordance with the provisions of Section 2206.1.1.1 or 2206.1.1.2, as applicable.

2206.1.1.1 Seismic Design Categories B and C

Where a response modification coefficient, R, in accordance with ASCE 7, Table 12.2-1 is used for the design of cold-formed steel light-frame construction assigned to Seismic Design Category B or C, the seismic force-resisting system shall be designed and detailed in accordance with the requirements of AISI S400.

Exception: The response modification coefficient, R, designated for "Steel systems not specifically detailed for seismic resistance, excluding cantilever column systems" in ASCE 7, Table 12.2-1, shall be permitted for systems designed and detailed in accordance with AISI S240 and need not be designed and detailed in accordance with AISI S400.

2206.1.1.2 Seismic Design Categories D Through F

In cold-formed steel light-frame construction assigned to Seismic Design Category D, E or F, the seismic force-resisting system shall be designed and detailed in accordance with AISI S400.

[OSHPD 1R, 2 & 5]:

- Cold-formed steel stud foundation plates or sills shall be bolted or fastened to the foundation or foundation wall in accordance with Section 2304.3.4, Item 2.

- Shear wall assemblies in accordance with Sections E5, E6 and E7 of AISI S400 are not permitted within the seismic force-resisting system of buildings.

2206.1.2 Prescriptive Framing

Detached one- and two-family dwellings and townhouses, less than or equal to three stories above grade plane, shall be permitted to be constructed in accordance with AISI S230 subject to the limitations therein.

2206.1.3 Truss Design

Cold-formed steel trusses shall comply with the additional provisions of Sections 2206.1.3.1. through 2206.1.3.3.

[OSHPD 1R, 2 & 5] Complete engineering analysis and truss design drawings shall accompany the construction documents submitted to the enforcement agency for approval. When load testing is required, the test report shall be submitted with the truss design drawings and engineering analysis to the enforcement agency.

2206.1.3.1 Truss Design Drawings

The truss design drawings shall conform to the requirements of Section I1 of AISI S202 and shall be provided with the shipment of trusses delivered to the job site. The truss design drawings shall include the details of permanent individual truss member restraint/bracing in accordance with Section I1.6 of AISI S202 where these methods are utilized to provide restraint/bracing.

2206.1.3.2 Trusses Spanning 60 Feet or Greater

The owner or the owner's authorized agent shall contract with a registered design professional for the design of the temporary installation restraint/bracing and the permanent individual truss member restraint/bracing for trusses with clear spans 60 feet (18 288 mm) or greater. Special inspection of trusses over 60 feet (18 288 mm) in length shall be in accordance with Section 1705.2.

2206.1.3.3 Truss Quality Assurance

Trusses not part of a manufacturing process that provides requirements for quality control done under the supervision of a third-party quality control agency in accordance with AISI S240 Chapter D shall be fabricated in compliance with Sections 1704.2.5 and 1705.2, as applicable.

2206.2 Nonstructural Members

Assembly

Diagram

For cold-formed steel light-frame construction, the design and installation of nonstructural members and connections shall be in accordance with AISI S220.

[OSHPD 1R, 2 & 5] for noncomposite assembly design. Where nonstructural members do not qualify for design under AISI S220, the design and installation of nonstructural members and connections shall be in accordance with AISI S240 or S100.

UpCodes Diagrams (6)

Primary

Steel Stud Corners

Primary

Steel Stud Lateral Bracing and Stiffeners

Primary

Side Clip Attachment: Bypass Wall Stud (Steel)

Primary

Steel Stud Lateral Bracing

Light Gauge Steel Framing Nomenclature

Steel Framing Drop Ceiling

Assemblies (60)

WP 1953: 2hr, Steel Stud

WP 1960: 2hr, Steel Stud

WP 3436: 1hr, 40-44 STC, Plaster/Lath & Wood Studs

FC 5538: 1hr, Wood I-Joist, Resilient Channel & Insulation

WP 8122: 1hr, Steel Studs, Polymer Mod. EIFS

WP 8325: 2hr, Plaster/Lath & Steel Stud

WP 1961: 2hr, Steel Stud

WP 1560: 2hr, 50-54 STC, Plaster & Steel Stud

WP 1522: 2hr, 55-59 STC, Steel Stud

WP 1350: 1hr, Steel Stud

Show 50 more

2206.3 Cutting and Notching

The cutting and notching of holes in cold-formed steel framing members shall be in accordance with AISI S240 for structural members and AISI S220 for nonstructural members.

Section 2207 Steel Joists

Assembly

Assemblies (23)

6-1.1: 1hr & 2hr, Steel

6-2.1: 3hr Steel

6-5.1: 2hr Steel

6-3.1: 1hr Steel

6-4.1: 2hr Steel - Opt. 2 & 3

6-4.1: 2hr Steel - Opt. 1

22-1.1: 1hr, Steel

17-1.1: 2hr, Steel/Conc.

17-1.1: 3hr, Steel/Conc.

11-1.1: 2hr, Steel - Options 2 & 3

Show 13 more

2207.1 General

The design, manufacture and use of open-web steel joists and joist girders shall be in accordance with either SJI 100 or SJI 200, as applicable.

2207.1.1 Seismic Design

Where required, the seismic design of buildings shall be in accordance with the additional provisions of Section 2202.2 or 2206.1.1.

2207.2 Design

The registered design professional shall indicate on the construction documents the steel joist and steel joist girder designations from SJI 100 or SJI 200; and shall indicate the requirements for joist and joist girder design, layout, end supports, anchorage, bridging design that differs from SJI 100 or SJI 200, bridging termination connections and bearing connection design to resist uplift and lateral loads. These documents shall indicate special requirements as follows:

- Special loads including:

  - Concentrated loads.

  - Nonuniform loads.

  - Net uplift loads.

  - Axial loads.

  - End moments.

  - Connection forces.

- Special considerations including:

  - Profiles for joist and joist girder configurations that differ from those defined by SJI 100 or SJI 200.

  - Oversized or other nonstandard web openings.

  - Extended ends.

- Deflection criteria for joists and joist girder configurations that differ from those defined by SJI 100 or SJI 200.

2207.3 Calculations

The steel joist and joist girder manufacturer shall design the steel joists and steel joist girders in accordance with SJI 100 or SJI 200 to support the load requirements of Section 2207.2. The registered design professional shall be permitted to require submission of the steel joist and joist girder calculations as prepared by a registered design professional responsible for the product design. Where requested by the registered design professional, the steel joist manufacturer shall submit design calculations with a cover letter bearing the seal and signature of the joist manufacturer's registered design professional. In addition to the design calculations submitted under seal and signature, the following shall be included:

- Bridging design that differs from SJI 100 or SJI 200, such as cantilevered conditions and net uplift.

- Connection design for:

  - 2.1.  Connections that differ from SJI 100 or SJI 200, such as flush-framed or framed connections.

  - 2.2.  Field splices.

  - 2.3.  Joist headers.

2207.4 Steel Joist Drawings

Steel joist placement plans shall be provided to show the steel joist products as specified on the approved construction documents and are to be utilized for field installation in accordance with specific project requirements as stated in Section 2207.2. Steel joist placement plans shall include, at a minimum, the following:

- Listing of applicable loads as stated in Section 2207.2 and used in the design of the steel joists and joist girders as specified in the approved construction documents.

- Profiles for joist and joist girder configurations that differ from those defined by SJI 100 or SJI 200.

- Connection requirements for:

  - 3.1.  Joist supports.

  - 3.2.  Joist girder supports.

  - 3.3.  Field splices.

  - 3.4.  Bridging attachments.

- Deflection criteria for joists and joist girder configurations that differ from those defined by SJI 100 or SJI 200.

- Size, location and connections for bridging.

- Joist headers.

Steel joist placement plans do not require the seal and signature of the joist manufacturer's registered design professional. [OSHPD 1R, 2 & 5] Not permitted by OSHPD.

2207.5 Certification

At completion of manufacture, the steel joist manufacturer shall submit a certificate of compliance to the owner or the owner's authorized agent for submittal to the building official as specified in Section 1704.5 stating that work was performed in accordance with approved construction documents and with SJI 100 or SJI 200, as applicable.

2207.6 Joist Chord Bracing

[OSHPD 1R, 2 & 5] The chords of all joists shall be laterally supported at all points where the chords change direction.

Section 2208 Steel Deck

2208.1 Steel Decks

The design and construction of cold-formed steel floor and roof decks and composite slabs of concrete and steel deck shall be in accordance with SDI SD. The design of cold-formed steel diaphragms shall be in accordance with additional provisions of AISI S310, as applicable.

[OSHPD 1R, 2 & 5] The base material thickness of the steel deck shall not be less than 0.0359 inch (0.9 mm) (20 gage).

Exception: For single-story, nonbuilding structures similar to buildings, the minimum deck thickness need not apply if the steel roof deck is not being used as the diaphragm and there are no suspended hangers or bracing for nonstructural components attached to the deck.

Section 2209 Steel Storage Racks

2209.1 General

The design, testing and utilization of steel storage racks made of cold-formed or hot-rolled steel structural members shall be in accordance with ANSI MH16.1. The design, testing and utilization of steel cantilevered storage racks made of cold-formed or hot-rolled steel structural members shall be in accordance with ANSI MH 16.3.

2209.2 Seismic Design

Where required by ASCE 7, the seismic design of steel storage racks and cantilevered steel storage racks shall be in accordance with Section 15.5.3 of ASCE 7.

2209.3 Certification

For steel storage racks that are 8 feet (2438 mm) in height or greater to the top load level and assigned to Seismic Design Category D, E, or F at completion of the storage rack installation, a certificate of compliance shall be submitted to the owner or the owner's authorized agent stating that the work was performed in accordance with approved construction documents.

Section 2210 Metal Building Systems

2210.1 General

The design, fabrication and erection of a metal building system shall be in accordance with the provisions of this section.

2210.1.1 Design

The design of metal building systems shall be in accordance with Sections 2210.1.1.1 through 2210.1.1.4, as applicable.

2210.1.1.1 Structural Steel

The design, fabrication and erection of structural steel shall be in accordance with Section 2202.

2210.1.1.2 Cold-Formed Steel

The design of cold-formed carbon and low-alloy steel structural members shall be in accordance with Section 2204.

2210.1.1.3 Steel Joists

The design of steel joists shall be in accordance with Section 2207.

2210.1.1.4 Steel Cable

The design, fabrication and erection of steel cables, including related connections, shall be in accordance with Section 2214.

2210.2 Seismic Design

Where required, the seismic design, fabrication and erection of the structural steel seismic force-resisting system shall be in accordance with Section 2202.2.1 or 2202.2.2, as applicable.

Section 2211 Industrial Boltless Steel Shelving

2211.1 General

The design, testing and utilization of industrial boltless steel shelving shall be in accordance with MHI ANSI/MH 28.2. Where required by ASCE 7, the seismic design of industrial boltless steel shelving shall be in accordance with Chapter 15 of ASCE 7.

Section 2212 Industrial Steel Work Platforms

2212.1 General

The design, testing and utilization of industrial steel work platforms shall be in accordance with MHI ANSI/MH 28.3. Where required by ASCE 7, the seismic design of industrial steel work platforms shall be in accordance with Chapter 15 of ASCE 7.

Section 2213 Stairs, Ladders and Guarding for Steel Storage Racks and Industrial Steel Work Platforms

2213.1 General

The design and installation of stairs, ladders and guarding serving steel storage racks and industrial steel work platforms shall be in accordance with MHI ANSI/MH 32.1.

Section 2214 Steel Cable Structures

2214.1 General

The design, fabrication and erection including related connections, and protective coatings of steel cables for buildings shall be in accordance with ASCE 19.

[OSHPD 1R, 2 & 5] Steel cables with glass or polymer fabric material acting as a tensile membrane structure shall be considered as an alternative system.

Section 2215 Additional Requirements for Community Colleges [DSA-SS/CC]

2215.1 General

2215.1.1 Shear Transfer at Column Base Plate

Where the holes in column base plates are more than 1/8 inch (3 mm) larger than the anchor rods, as permitted by AISC 360, the anchor rods shall be designed for the induced bending stresses in combination with axial and shear stresses. Alternatively, shear lugs designed in accordance with ACI 318 Section 17.11 shall be permitted to transfer shear forces between column base plates and the supporting structure.

2215.2 Modifications to AISC 341

2215.2.1 Section B5

Modify exception of Section B5.2(a) as follows:

Exception: The forces specified in this section need not be applied to truss diaphragms designed as a part of a three-dimensional system in which the seismic force-resisting system types consist of ordinary moment frames, ordinary concentrically braced frames, ordinary cantilever column systems, special cantilever column systems, or combinations thereof, and where each diagonal bracing member resists no more than 30 percent of the diaphragm shear at each line of resistance and where the truss diagonal members conform to Sections F1.4b and F1.5 and the connections conform to Section F1.6.

2215.2.2 Section D2

Modify Section D2.6c(b)(2) as follows:

- (2) The moment calculated using the load combinations of the applicable building code, including the amplified seismic load, provided the connection or other mechanism within the column base is designed to have the ductility necessary to accommodate the column base rotation resulting from the design story drift.

2215.3 Seismic Requirements for Composite Structural Steel and Concrete Construction

In addition to the requirements of Section 2202.2.1, steel and concrete ConXtech ConXL composite special moment frame with the approved moment connections in accordance with AISC 358 Chapter 10 shall be permitted provided:

- Beams are provided with reduced beam sections (RBS);

- Web extension to beam web two-sided fillet welds are sized to develop expected strength of the beam web and shall not be less than a 1/4-inch fillet weld; and

- The built-up box column wall thickness shall not be less than 1.25 inches and the HSS column wall thickness shall not be less than 1/2 inch.

2215.4 Steel Joists

2215.4.1 Design Approval

Joist and joist girder design calculations and profiles with member sizes and connection details, and joist placement plans shall be provided to the enforcement agency and approved prior to joist fabrication, in accordance with Title 24, Part 1. Joist and joist girder design calculations and profiles with member sizes and connection details shall bear the signature and stamp or seal of the registered engineer or licensed architect responsible for the joist design. Alterations to the approved joist and joist girder design calculations and profiles with member sizes and connection details, or to fabricated joists are subject to the approval of the enforcement agency.

2215.4.2 Joist Chord Bracing

The chords of all joists shall be laterally supported at all points where the chords change direction.

2215.5 Cold-Formed Steel Light-Frame Construction

2215.5.1 Trusses

2215.5.1.1 Analysis Submittals

Complete engineering analysis and truss design drawings shall accompany the construction documents submitted to the enforcement agency for approval. When load testing is required the test report shall be submitted with the truss design drawings and engineering analysis to the enforcement agency.

2215.5.1.2 Deferred Submittals

Deferred submittal per Section I1.4.2 of AISI 202 is not permitted by DSA-SS/CC.

2215.5.2 Anchorage for Shear

Cold-formed steel stud foundation plates or sills shall be bolted or fastened to the foundation or foundation wall in accordance with Section 2304.3.4, Item 2.

2215.5.3 Limitations on Shear Wall Assemblies

Shear wall assemblies in accordance with Sections E5, E6 and E7 of AISI-S400 are not permitted within the seismic force-resisting system of buildings or structures assigned to Risk Category II, III, IV or buildings designed to be relocatable.

2215.6 Testing

2215.6.1 Tests of High-Strength Bolts, Nuts and Washers

High-strength bolts, nuts and washers shall be sampled and tested in accordance with Section 1705A.2.8.

2215.6.2 Tests of End-Welded Studs

End-welded studs shall be sampled and tested in accordance with the requirements of the AWS D1.1.

Section 2216 Testing and Field Verification [OSHPD 1R, 2 & 5]

2216.1 Tests of High-Strength Bolts, Nuts and Washers

High-strength bolts, nuts and washers shall be sampled and tested by an approved agency for conformance with the requirements of applicable ASTM standards.

A minimum of nine samples per lot, as defined in the ASTM standards for bolts [not nuts and washers], shall be tested for tensile properties in accordance with ASTM F606, but need not exceed three samples per 400 bolts.

2216.2 Tests of End-Welded Studs

End-welded studs shall be tested in accordance with the requirements of the AWS D1.1, Clauses 9.7 and 9.8.

Exception: Fillet-welded studs exempted by AWS D1.1, Clause 9.5