Chapter 35 Referenced Standards

CALIFORNIA BUILDING CODE — MATRIX ADOPTION TABLE
CHAPTER 35 — REFERENCED STANDARDS

(Matrix Adoption Tables are nonregulatory, intended only as an aid to the code user.
See Chapter 1 for state agency authority and building applications.)

| Adopting agency | BSC | BSC -CG | SFM | HCD |  |  | DSA |  |  | OSHPD |  |  |  |  |  |  | BSCC | DHS | AGR | DWR | CEC | CA | SL | SLC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1 | 2 | 1/AC | AC | SS | SS/CC | 1 | 1R | 2 | 3 | 4 | 5 | 6 |  |  |  |  |  |  |  |  |
| Adopt entire chapter | X |  |  |  |  |  |  |  |  |  |  |  | X |  |  | X |  |  |  |  |  |  |  |  |
| Adopt entire chapter as amended (amended sections listed below) |  |  | X | X | X | X |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| Adopt only those sections that are listed below |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |  |
| Chapter / Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| AAMA 501.4-18 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| AAMA 501.6-18 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| AAMA TIR A8-16 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ACI 318-19 | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| ACI 355.2-22 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ACI 355.4-19 (21) |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ACI 440.2R-17 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ACI 506R-16 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ACI 506.2-13 (18) |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ACI 506.4R-19 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ACI 506.6T-17 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ACI 548.15-20 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ANSI S3.41 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASCE/SEI 7-22 w/Suppl.1 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  | X |
| ASCE/SEI 41-13 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASCE/SEI 41-17 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASCE/SEI 41-23 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASHRAE 171-2017 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASME A17.1/CSA B44 |  |  | X |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASME A18.1 |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASME BPE-2009 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASME B31.3-2014 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | X |
| ASTM A227/A227M-17 |  |  |  |  | X | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASTM A229/A229M-17 |  |  |  | X | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASTM A615/A615M-22 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASTM A706/A706M-22a |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASTM A1064-22 | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASTM C595/C595M-21 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASTM C618-23e1 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASTM C635/C635M-22 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASTM C989-22 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASTM C1019-20 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASTM C1249-18 (2023) |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASTM C1392-20 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASTM C1394-20 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASTM C1401-23 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASTM C1586-20 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASTM C1714/C1714M-23 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASTM C1823/C1823M-20 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASTM D1586-18e1 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASTM D3966-22 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASTM D5778-20 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASTM E580/E580M-22 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| ASTM E662-17a |  |  | X |  |  |  | X | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASTM E2632/E2632M-13 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASTM E2707-15 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASTM E2726/E2726-12a |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASTM E3121-17 |  |  |  |  |  |  |  | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |  |
| ASTM F606/F606M-21 |  |  |  |  |  |  |  | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |  |
| ASTM F1292-99 |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASTM F1292-04 |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASTM F1487-01 |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASTM F1951-99 |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ASTM F2374 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ANSI/AWC NDS w/2024 Suppl. |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  | X |
| AWS B5.1-2013-AMD1 |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| AWS D1.1/D1.1M-20 |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| AWS D1.2/D1.2M-14 |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| AWS D1.3/D1.3M-2018 |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| AWS D1.6/D1.6M-2017 |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| AWS D1.8/D1.8M-2021 |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| AWS QCI-16 |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| BHMA A156.10-2011 |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BHMA A156.19-2013 |  |  |  |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ANSI/DASMA 103-2017 |  |  |  | X | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FM 1950-2022 |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| FM 3011-99 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FM 3260-00 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ICC 300-23 |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| ICC-ES AC01-24* |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| ICC-ES AC58-24* |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| ICC-ES AC70-24* |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| ICC-ES AC77 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ICC-ES AC106-24* |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| ICC-ES AC125-24* |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| ICC-ES AC156-24* |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| ICC-ES AC178-24* |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| ICC-ES AC193-24* |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| ICC-ES AC232-24* |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| ICC-ES AC308-24* |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| ICC ES AC331 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ICC-ES AC358-24* |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| ICC-ES AC446-24* |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| ISO 9001-15 |  |  |  |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  |  |  |  |  |
| NFPA 11-24 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 13-25 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 13D-25 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 13R-25 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 14-24 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 20-25 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 24-25 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 25-13CA |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 31-24 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 32-21 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 37-18 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 40-24 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 45-24 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 54-18 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 58-24 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 72-25 |  |  | X |  |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 82-24 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 92-24 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 105-25 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 110-25 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 111-25 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 120-23 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 130-20 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 170-24 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 211-24 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 286-24 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 418-24 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 502-20 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 780-23 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 1124-17 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NFPA 2001-22 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PCI MNL 120-17 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| PTI DC35.1-14 |  |  |  |  |  |  |  | X | X | X | X | X |  | X | X |  |  |  |  |  |  |  |  |  |
| SFM 12-3 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SFM 12-7-3 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SFM 12-7A-1 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SFM 12-7A-2 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SFM 12-7A-3 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SFM 12-7A-4 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SFM 12-7A-4A |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SFM 12-7A-5 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SFM 12-8-100 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SFM 12-10-1 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SFM 12-10-2 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SFM 12-10-3 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UBC 15-2 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UBC 15-3 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UBC 15-4 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UL 13-96 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UL 38-99 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UL 193-04 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UL 199-95 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UL 228-97 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UL 260-04 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UL 262-04 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UL 268A-09 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UL 312-04 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UL 346-05 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UL 464-03 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UL 497B-04 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UL 521-99 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UL 539-00 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UL 632-00 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UL 753-04 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UL 790 Edition 9-2022 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UL 813-96 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UL 857-13 |  |  |  |  |  |  |  |  | † | † | X | X | X |  | X | X |  |  |  |  |  |  |  |  |
| UL 864-2014 |  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

The state agency does not adopt sections identified with the following symbol: †

The Office of the State Fire Marshal's adoption of this chapter or individual sections is applicable to structures regulated by other state agencies pursuant to Section 1.11.

User notes:

About this chapter: The California Building Code contains numerous references to standards promulgated by other organizations that are used to provide requirements for materials and methods of construction. This chapter contains a comprehensive list of all standards that are referenced in this code. These standards, in essence, are part of this code to the extent of the reference to the standard.

[DSA-SS, DSA-SS/CC, OSHPD 1 & 4] Reference to other chapters. In addition to the code sections referenced, the standards listed in this chapter are applicable to the respective code sections in Chapters 16A, 17A, 18A, 19A, 21A and 22A.

This chapter lists the standards that are referenced in various sections of this document. The standards are listed herein by the promulgating agency of the standard, the standard identification, the effective date and title, and the section or sections of this document that reference the standard. The application of the referenced standards shall be as specified in Section 102.4.

AA

Aluminum Association,

1400 Crystal Drive, Suite 430,

Arlington, VA 22202

ADM—2020:

Aluminum Design Manual

1604.3.5, 2002.1

ASM 35—00:

Aluminum Sheet Metal Work in Building Construction (Fourth Edition)

2002.1

AAMA

American Architectural Manufacturers Association,

1900 E Golf Road, Suite 1250,

Schaumburg, IL 60173

711—22:

Specification for Self-Adhering Flashing Used for Installation of Exterior Wall Fenestration Products

1404.4

714—23:

Voluntary Specification for Liquid-Applied Flashing Used to Create a Water-Resistive Seal around Exterior Wall Openings in Buildings

1404.4

1402—09:

Standard Specifications for Aluminum Siding, Soffit and Fascia

1403.5.1

2502—19:

Comparative Analysis Procedure for Window and Door Products

1709.5

AAMA/WDMA/CSA 101/I.S.2/A440—22:

North American Fenestration Standard/Specification for Windows, Doors, and Skylights

1709.5.1, 2405.5,
1709A.5.1

501.4-18:

Recommended Static Test Method for Evaluating Curtain Wall and Storefront Systems Subjected to Seismic and Wind Induced Interstory Drifts
[OSHPD 1 & 4] Section 7.2.5, Replace "elastic design displacement" with "design story drifts associated with the design earthquake".

2410.1

501.6-18:

Recommended Dynamic Test Method for Determining the Seismic Drift Causing Glass Fallout from a Wall System

2410.1

TIR A8-16:

Structural Performance of Composite Thermal Barrier Framing Systems

2411.1

ACI

American Concrete Institute,

38800 Country Club Drive,

Farmington Hills, MI 48331-3439

117—10:

Specification for Tolerances for Concrete Construction and Materials

1901.7.1

216.1—14:

Code Requirements for Determining Fire Resistance of Concrete and Masonry Construction Assemblies

Table 721.1(2), 722.1

318—19:

Building Code Requirements for Structural Concrete

722.2.4.3, 1604.3.2, 1616.2.1,
1616.3.1, 1704.5, Table 1705.3,
1705.3.2, 1705A.3.9, Table 1705A.3,
1808.8.2, Table 1808.8.2, 1808.8.5,
1808.8.6, 1809.14, 1810.1.3,
1810.2.4.1, 1810.3.2.1.1, 1810.3.2.1.2,
1810.3.8, 1810.3.9.2, 1810.3.9.4.2.1,
1810.3.9.4.2.2, 1810.3.10.1, 1810.3.11,
1810.3.11.1, 1810.3.12, 1810.3.12,
1810.3.13, 1810A.3.10.4, 1901.2,
1901.3, 1901A.3, 1901.3.4.4,
1902.1, 1902A.1, 1903A,
1903.1, 1904A, 1904.1,
1904.2, 1905A, 1905.1,
1905.2, 1905.3, 1905.4,
1905.5.1, 1905.6, 1905.6.2,
1905.7, 1905.7.1, 1905.7.2,
1907.1, 1908.1, 1909.2.6.4,
1909.3, 1909.4, 1910.3, 1910A.5.4

355.2—22:

Qualification of Post-Installed Mechanical Anchors in Concrete and Commentary

1617A.1.19, 1901.3.2

355.4—19(21):

Qualification of Post-Installed Adhesive Anchors in Concrete and Commentary

1617A.1.19, 1901.3.3

440.2R—17:

Guide for the Design and Construction of Externally Bonded FRP Systems for Strengthening Concrete Structures

1911.3, 1911A.3

440.11—22:

Structural Concrete Buildings Reinforced Internally with Fiber Reinforced Polymer (FRP) Bars — Code Requirements

1901.2.1

506R—16:

Guide to Shotcrete

1908.1, 1908A.1

506.2—13 (18):

Specification for Shotcrete

1705A.3.9, 1908.1, 1908A.1, 1909.4

506.4R—19:

Guide for the Evaluation of Shotcrete

1908.1, 1908A.1, 1909.4

506.6T—17:

Visual Shotcrete Core Quality Evaluation

1908.1, 1908A.1, 1909.4

548.15-20:

Specification for Crack Repair by Epoxy Injection

1911.2, 1911A.2

550.5—18:

Code Requirements for the Design of Precast Concrete Diaphragms for Earthquake Motions

Table 1705.3

ITG—7-09:

Specification for Tolerances for Precast Concrete

1901.7.2

AISC

American Institute of Steel,

130 East Randolph Street, Suite 2000,

Chicago, IL 60601-6219

ANSI/AISC 341—22:

Seismic Provisions for Structural Steel Buildings

1705.13.1.1, 1705.13.1.2, 1705.14.1.1, 1705.14.1.2, Table 1705A.2.1, 1810.3.5.3.1, 2202.2.1.1, 2202.2.1.2, 2202.2.2, 2202A.5, 2205.3, 2215.2

ANSI/AISC 358—22:

Prequalified Connections for Special and Intermediate Steel Moment Frames for Seismic Applications

Table 1705A.2.1, 2202.2.1, 2202.2.1.2, 2202.3,2202A.3, 2202A.6, 2215.3,2205A, 2205.4, 2206A.2, 2206.2.1

ANSI/AISC 360—22:

Specification for Structural Steel Buildings

722.5.2.2.1, 1604.3.3, 1705.2.1, 1705A.2.1, Table 1705A.2.1, 1705A.2.5, 2201A.5.1, 2202.1, 2202.2.1.1, 2204.4, 2204A.4, 2215.1.1, 2215A.1.2, 2215A.2.1

ANSI/AISC 370—21:

Specification for Structural Stainless Steel Buildings

1705.2.2, 1705.2.2, Table 1705A.2.1, 1705A.2.2, 2203.1

AISI

American Iron and Steel Institute,

25 Massachusetts Avenue, NW Suite 800,

Washington, DC 20001

AISI S100—16(2020) w/S2—20:

North American Specification for the Design of Cold-Formed Steel Structural Members, 2016 Edition (Reaffirmed 2020), with Supplement 2, 2020 Edition

1604.3.3, 1905.7.2, 2204, 2204.2.2, 2204A.1

AISI S202—20:

Code of Standard Practice for Cold-formed Steel Structural Framing, 2020 Edition

2206.1.3.1, 2206.1.3.1

AISI S220—20:

North American Standard for Cold-Formed Steel Nonstructural Framing, 2020 Edition

2203.1, 2206.2, 2206.3, Table 2506.2, Table 2507.2

AISI S230—2019:

North American Standard for Cold-formed Steel Framing—Prescriptive Method for One and Two Family Dwellings, 2019 Edition

1609.1.1, 1609.1.1.1, 2204.1, 2206.1.2

AISI S240—20:

North American Standard for Cold-Formed Steel Structural Framing, 2020 Edition

Table 1404.5.2.1, Table 1404.5.2.2, Table 1705A.2.1, 1709A.2.9, 2206.1, 2206.1.1.1, 2206.1.3.3, 2206.3, 2212.1, 2206A.2, Table 2506.2, Table 2507.2

AISI S310—20 w/S1—22:

North American Standard for the Design of Profiled Steel Diaphragm Panels, with Supplement 1, 2022 Edition

2204.1, 2208.1

AISI S400—20:

North American Standard for Seismic Design of Cold-formed Steel Structural Systems, 2020 Edition

2204.2.1, 2204.2.2, 2206.1.1.1, 2206.1.1.2, 2215A.4.3

ALI

Automotive Lift Institute, Inc.,

P.O. Box 85,

Cortland, NY 13045

ALI ALCTV—2022:

Standard for Automotive Lifts—Safety Requirements for Construction, Testing and Validation (ANSI)

Table 3001.3

AMCA

Air Movement and Control Association International,

30 West University Drive,

Arlington Heights, IL 60004

ANSI/AMCA 540—23:

Test Method for Louvers Impacted by Wind Borne Debris

1609.2.1

ANSI

American National Standards Institute,

25 West 43rd Street, Fourth Floor,

New York, NY 10036

A13.1—2020:

Scheme for the Identification of Piping Systems

415.11.7.5

A108.1A—17:

Installation of Ceramic Tile in the Wet-set Method, with Portland Cement Mortar

2103.2.3

A108.1B—17:

Installation of Ceramic Tile on a Cured Portland Cement Mortar Setting Bed with Dry-set or Latex-Portland Cement Mortar

2103.2.3

A108.4—19:

Installation of Ceramic Tile with Organic Adhesives or Water-cleanable Tile-setting Epoxy Adhesive

2103.2.3.6

A108.5—21:

Setting of Ceramic Tile with Dry-Set Cement Mortar, Modified Dry-Set Cement Mortar, EGP (Exterior Glue Plywood) Modified Dry-Set Cement Mortar, or Improved Modified Dry-Set Cement Mortar

2103.2.3.1, 2103.2.3.2

A108.6—99 (Reaffirmed 2019):

Installation of Ceramic Tile with Chemical Resistant, Water Cleanable Tile-Setting and -Grouting Epoxy

2103.2.3.3

A108.8—99 (Reaffirmed 2019):

Installation of Ceramic Tile with Chemical-resistant Furan Resin Mortar and Grout

2103.2.3.4

A108.9—99(Reaffirmed 2019):

Installation of Ceramic Tile with Modified Epoxy Emulsion Mortar/Grout

2103.2.3.5

A108.10—17:

Installation of Grout in Tilework

2103.2.3.7

A118.1—19:

American National Standard Specifications for Dry-Set Cement Mortar

2103.2.3.1

A118.3—21:

American National Standard Specifications for Chemical-resistant, Water-cleanable Tile-setting and -grouting Epoxy and Water Cleanable Tile-setting Epoxy Adhesive

2103.2.3.3

A118.4—19:

American National Standard Specifications for Modified Dry-set Cement Mortar

2103.2.3.2

A118.5—99(Reaffirmed 2021):

American National Standard Specifications for Chemical Resistant Furan Mortars and Grouts for Tile Installation

2103.2.3.4

A118.6—19:

American National Standard Specifications for Standard Cement Grouts for Tile Installation

2103.2.3.7

A118.8—99:

American National Standard Specifications for Modified Epoxy Emulsion Mortar/Grout

2103.2.3.5

A136.1—20:

American National Standard Specifications for Organic Adhesives for Installation of Ceramic Tile

2103.2.3.6

A137.1—22:

American National Standard Specifications for Ceramic Tile

202

A137.3—22:

American National Standard Specification for Gauged Porcelain Tile and Gauged Porcelain Tile Panels/Slabs

202

E1.21—2020:

Entertainment Technology—Temporary Structures Used for Technical Production of Outdoor Entertainment Events

3103.6.3, 3103.8

ES1.7—2021:

Event Safety Requirements - Weather Preparedness

3103.8

S3.41:

American National Standard Specifications for Audible Emergency Evacuation Signal

907.5.2.1.4

Z 97.1—2015 (Reaffirmed 2020):

Safety Glazing Materials Used in Buildings—Safety Performance Specifications and Methods of Test

2406.1.2, 2406.2, Table 2406.2(2), 2406.3.1, 2407.1, 2407.1.4, 2408.2.1, 2408.3, 2409.2, 2409.3, 2409.4.1

APA

APA - Engineered Wood Association,

7011 South 19th Street,

Tacoma, WA 98466-7400

ANSI 117—2020:

Standard Specification for Structural Glued Laminated Timber of Softwood Species

2306.1

ANSI/APA A190.1—2022:

Product Standard for Structural Glued Laminated Timber

1705.5.5, 2303.1.3, 2306.1

ANSI/APA PRG 320—2019:

Standard for Performance-rated Cross-laminated Timber

602.4, 2303.1.4

ANSI/APA PRP 210—2019:

Standard for Performance-Rated Engineered Wood Siding

2303.1.5, 2304.7, 2306.3, Table 2306.3(1)

ANSI/APA PRR 410—2021:

Standard for Performance-Rated Engineered Wood Rim Boards

2303.1.13

APA PDS Supplement 1—23:

Design and Fabrication of Plywood Curved Panels

2306.1

APA PDS Supplement 2—23:

Design and Fabrication of Plywood-lumber Beams

2306.1

APA PDS Supplement 3—23:

Design and Fabrication of Plywood Stressed-skin Panels

2306.1

APA PDS Supplement 4—23:

Design and Fabrication of Plywood Sandwich Panels

2306.1

APA PDS Supplement 5—23:

Design and Fabrication of All-plywood Beams

2306.1

APA PDS—20:

Panel Design Specification

2306.1

APA R540—19:

Builder Tips: Proper Storage and Handling of Glulam Beams

2306.1

APA S475—20:

Glued Laminated Beam Design Tables

2306.1

APA S560—20:

Technical Note: Field Notching and Drilling of Glued Laminated Timber Beams

2306.1

APA T300—23:

Glulam Connection Details

2306.1

APA X440—23:

Product Guide: Glulam

2306.1

APA X450—23:

Glulam in Residential Building—Construction Guide

2306.1

ASABE

American Society of Agricultural and Biological Engineers,

2950 Niles Road,

St. Joseph, MI 49085

EP 484.3 DEC2017(R2022):

Diaphragm Design of Metal-clad, Wood-frame Rectangular Buildings

1807.3, 2306.1

EP 486.3 SEP2017(R2021):

Shallow-post and Pier Foundation Design

1807.3, 2306.1

EP 559.1 AUG2010(R2019):

Design Requirements and Bending Properties for Mechanically Laminated Wood Assemblies

2306.1

ASCE/SEI

American Society of Civil Engineers
Structural Engineering Institute,

1801 Alexander Bell Drive,

Reston, VA 20191

7—22:

Minimum Design Loads and Associated Criteria for Buildings and Other Structures with Supplement 1

104.11 202, Table 1504.2, 1504.8, Table 1504.8, 1510.7.1, 1602.1, 1603.1.4, 1603A.1.5, 1603A.2, Table 1604.3, 1604.4, 1604A.4, 1604.5, Table 1604.5, 1604.8.2, 1604.9, 1605.1, 1605.1.1, 1605.2, 1606.3, 1607.9.1, 1607.9.1.1, 1607.9.1.2, 1607.10, 1607.12, 1608.1, 1608.2, Figure 1608.2(1), 1608.3, 1609.1.1, 1609.2, 1609.3, 1609.5, 1609.6.1, 1609.6.3.1, 1609.6.3.2, 1609.7, 1611.1, 1611.2, 1612.2, 1613.1, 1613.2, 1613.3, 1613.4, 1613.5, 1613.6, 1614.1, 1615.1, 1617, 1617A, 1705.13, 1705.13.1.1, 1705.13.1.2, 1705.13.4, 1705.14.1.1, 1705.14.1.2, 1705.14.2, 1705.14.3, 1705.14.4, 1709.5, 1709.5.3.1, 1802.1, 1803.5.12, 1803A.6, 1806.1, 1807A.2.5, 1808.3, 1808.3.1, 1809.13, 1809.14, 1809.14, 1810.3.1.1, 1810.3.6.1, 1810.3.8, 1810.3.9.2, 1810.3.9.4, 1810.3.9.4.1, 1810.3.9.4.2, 1810.3.11.2, 1810.3.12, 1811A.4, 1902.1, 1902.1.1, 2202.2.1, 2202.2.1.1, 2202.2.1.2, 2202.2.2, 2204.2.1, 2204.2.2, 2206.1.1.1, 2209.2, 2210A.2, 2211.1, 2212.1, 2212A.1.1, 2212A.2.4, Table 2304.6.1, Table 2306.3(3), Table 2308.11.4, 2404.1, 2410.1.1, 2410.1.2, 2505.1, 2505.2, 2506.2.1, 3115.8.4.2

8—22:

Standard Specification for the Design of Cold-Formed Stainless Steel Structural Members

1604.3.3, 2205.1, 2211.

19—16:

Structural Applications of Steel Cables for Buildings

2214.1

24—14:

Flood Resistant Design and Construction

1202.4.2, 1202.4.4, 1612.2, 1612.4, 2702.1.8, 3001.3

29—05:

Standard Calculation Methods for Structural Fire Protection

722.1

32—01:

Design and Construction of Frost-Protected Shallow Foundations

1809.5

37—2017:

Design Loads on Structures during Construction

1617A.1.18

41—13:

[OSHPD 1 SPC-2 and SPC-4D only] Seismic Evaluation and Retrofit of Existing Buildings

1603A.2

41—17:

[DSA-SS, DSA-SS/CC] Seismic Evaluation and Retrofit of Existing Buildings

1603A.2

41—23:

[DSA-SS, DSA-SS/CC] [OSHPD 1, 1R, 2, 4 and 5] Seismic Evaluation and Retrofit of Existing Buildings

1603A.2

49—21:

Wind Tunnel Testing for Buildings and Other Structures

1609.1.1

55—16:

Tensile Membrane Structures

3102.2

ASHRAE

ASHRAE,

180 Technology Parkway,

Peachtree Corners, GA 30092

90.1—2022:

Energy Standard for Sites and Buildings Except Low-Rise Residential Buildings

1202.1

170—2021:

Ventilation of Health Care Facilities

1020.6

171—2017:

Method of Testing for Rating Seismic and Wind Restraints

1705.14.2, 1705A.14.2

ASME

American Society of Mechanical Engineers,

Two Park Avenue,

New York, NY 10016

A17.1—2022/CSA B44—22:

Safety Code for Elevators and Escalators

11B-407.1, 11B-407.1.1, 11B-407.4.9, 11B-408.1, 11B-409.1, 11B-411.1, 11B-810.9, 1607.12.1, 1612.2, 1613.5

A17.1—CSA B44:

the edition as referenced in: California Code of Regulations, Title 8, Division 1, Chapter 4, Subchapter 6, Elevator Safety Orders Safety Code for Elevators and Escalators

907.3.3, 911.1.6, 1009.4.1, 3001.3, Table 3001.3, 3001.5, 3002.5, 3002.6.1, 3003.2, 3007.1, 3008.1.4, 3008.7.1

A17.7—2007/CSA B44—07(R2019):

Performance-based Safety Code for Elevators and Escalators

Table 3001.3, 3001.5, 3002.5

A18.1—2023:

Safety Standard for Platform Lifts and Stairway Chairlifts

1110.11, Table 3001.3

A90.1—2020:

Safety Standard for Belt Manlifts

Table 3001.3

B16.18—2023:

Cast Copper Alloy Solder Joint Pressure Fittings

909.13.1

B16.22—2023:

Wrought Copper and Copper Alloy Solder Joint Pressure Fittings

909.13.1

B20.1—2024:

Safety Standard for Conveyors and Related Equipment

Table 3001.3, 3004.3

BPE—2009:

Bio-processing Equipment Standard

B31.3—2014:

[SLC] Process Piping

415.11.6

B31.3—2022:

Process Piping

415.11.7

ASSP

American Society of Safety Professionals,

520 N. Northwest Highway,

Park Ridge, IL 60068

ANSI/ASSP Z359.1—2020:

The Fall Protection Code

1015.6, 1015.7

ASTM

ASTM International,

100 Barr Harbor Drive, P.O. Box C700,

West Conshohocken, PA 19428

A6/A6M—21:

Standard Specification for General Requirements for Rolled Structural Steel Bars, Plates, Shapes and Sheet Piling

1810.3.2.3, 1810.3.5.3.1, 1810.3.5.3.3

A36/A36M—19:

Specification for Carbon Structural Steel

1810.3.2.3

A153/A153M—2016A:

Specification for Zinc Coating (Hot-Dip) on Iron and Steel Hardware

2304.10.6

A227/A227M—17:

Standard Specification for Steel Wire, Cold-Drawn for Mechanical Springs

1211.1.1

A229/A229M—17:

Standard Specification for Steel Wire, Quenched and Tempered for Mechanical Springs

1211.1.1

A240/A240M—20a:

Standard Specification for Chromium and Chromium-Nickel Stainless Steel Plate, Sheet, and Strip for Pressure Vessels and for General Applications

Table 1507.4.3

A252/A252M—19:

Specification for Welded and Seamless Steel Pipe Piles

1810.3.2.3

A283/A283M—2018:

Specification for Low and Intermediate Tensile Strength Carbon Steel Plates

1810.3.2.3

A416/A416M—18:

Standard Specification for Low-Relaxation, Seven-Wire Steel Strand, for Prestressed Concrete

1810.3.2.2

A463/A463M—15(2020)e1:

Standard Specification for Steel Sheet, Aluminum-Coated, by the Hot-Dip Process

Table 1507.4.3

A572/A572M—21e1:

Specification for High-Strength Low-Alloy Columbium-Vanadium Structural Steel

1810.3.2.3

A588/A588M—19:

Specification for High-Strength Low-Alloy Structural Steel, up to 50 ksi (345 MPa)- Minimum Yield Point with Atmospheric Corrosion Resistance

1810.3.2.3

A615/A615M—20:

Standard Specification for Deformed and Plain Carbon-Steel Bars for Concrete Reinforcement

1704.5, 1810.3.10.2

A615/A615M—22:

Standard Specification for Deformed and Plain Carbon-Steel Bars for Concrete Reinforcement

1704.5, 1810.3.10.2

A641/A641M—19:

Specification for Zinc-coated (Galvanized) Carbon Steel Wire

2304.10.6

A653/A653M—20:

Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process

Table 1507.4.3, 2304.10.6.1

A690/A690M—13a(2018):

Standard Specification for High-Strength Low-Alloy Nickel, Copper, Phosphorus Steel H-Piles and Sheet Piling with Atmospheric Corrosion Resistance for Use in Marine Environments

1810.3.2.3

A706/A706M—2016:

Standard Specification for Deformed and Plain Low-Alloy Steel Bars for Concrete Reinforcement

1704.5, Table 1705.3, 2107.3, 2108.3

A706/A706M—22a:

Standard Specification for Deformed and Plain Low-Alloy Steel Bars for Concrete Reinforcement

1704A.4, Table 1705A.3, 2107A.3, 2108A.3

A722/A722M—2018:

Specification for High-Strength Steel Bars for Prestressed Concrete

1810.3.10.2, 1811.4, 1811A.4, 1812.4.2, 1812A.4.2

A755/A755M—18:

Specification for Steel Sheet, Metallic Coated by the Hot-Dip Process and Prepainted by the Coil-Coating Process for Exterior Exposed Building Products

Table 1507.4.3

A792/A792M—21a:

Specification for Steel Sheet, 55% Aluminum-Zinc Alloy-Coated by the Hot-Dip Process

Table 1507.4.3

A875/A875M—21:

Standard Specification for Steel Sheet, Zinc-5%, Aluminum Alloy-Coated by the Hot-Dip Process

Table 1507.4.3

A924/A924M—20:

Standard Specification for General Requirements for Steel Sheet, Metallic-coated by the Hot-Dip Process

Table 1507.4.3

A1064—22::

Standard Specification for Carbon-steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete

1903.8, 1903A.8

B42—20:

Specification for Seamless Copper Pipe, Standard Sizes

909.13.1

B43—20:

Specification for Seamless Red Brass Pipe, Standard Sizes

909.13.1

B68/B68M—19:

Standard Specification for Seamless Copper Tube, Bright Annealed

909.13.1

B88—20:

Specification for Seamless Copper Water Tube

909.13.1

B101—12(2019):

Specification for Lead-Coated Copper Sheet and Strip for Building Construction

1403.5.3, Table 1507.2.8.2, Table 1507.4.3

B209—21:

Standard Specification for Aluminum and Aluminum-Alloy Steel and Plate

Table 1507.4.3

B251/B251M—2017:

Specification for General Requirements for Wrought Seamless Copper and Copper-Alloy Tube

909.13.1

B280—20:

Specification for Seamless Copper Tube for Air Conditioning and Refrigeration Field Service

909.13.1

B370—12(2019):

Specification for Copper Sheet and Strip for Building Construction

1403.5.2, Table 1507.2.8.2, Table 1507.4.3

B695—2021:

Standard Specification for Coatings of Zinc Mechanically Deposited on Iron and Steel

2304.10.2.1, 2304.10.6.1, 2304.10.6.3

C5—2018:

Specification for Quicklime for Structural Purposes

2109.2.4.8.7, Table 2507.2

C22/C22M—00(2021):

Specification for Gypsum

Table 2506.2

C27—1998(2018):

Specification for Standard Classification of Fireclay and High-Alumina Refractory Brick

2111.6

C28/C28M—10(2020):

Specification for Gypsum Plasters

Table 2507.2

C31/C31M—21a:

Practice for Making and Curing Concrete Test Specimens in the Field

Table 1705.3

C33/C33M—2018:

Specification for Concrete Aggregates

722.3.1.4, 722.4.1.1.3

C35/C35M—01(2019):

Standard Specification for Inorganic Aggregates for Use in Gypsum Plaster

Table 2507.2

C55—2017:

Specification for Concrete Building Brick

Table 722.3.2

C59/C59M—00(2020):

Specification for Gypsum Casting Plaster and Molding Plaster

Table 2507.2

C61/C61M—00(2020):

Specification for Gypsum Keene's Cement

Table 2507.2

C62—2017:

Standard Specification for Building Brick (Solid Masonry Units Made from Clay or Shale)

1807.1.6.3

C67/C67M—21:

Test Methods of Sampling and Testing Brick and Structural Clay Tile

722.4.1.1.1, 2109.2.1.1

C73—2017:

Specification for Calcium Silicate Brick (Sand-Lime Brick)

Table 722.3.2

C90—2021:

Specification for Loadbearing Concrete Masonry Units

Table 722.3.2, 1807.1.6.3, 2114.3

C91/C91M—2018:

Specification for Masonry Cement

Table 2507.2

C94/C94M—21b:

Specification for Ready-Mixed Concrete

110.3.1, 1705A.3.3.1

C140/C140M—22a:

Test Method Sampling and Testing Concrete Masonry Units and Related Units

722.3.1.2

C141/C141M —14:

Standard Specification for Hydrated Hydraulic Lime for Structural Purposes

2109.2.4.8.7

C150/C150M—21:

Specification for Portland Cement

1909.2.2,1910A.1, 1910.2.1, Table 2507.2

C172/C172M—2017:

Practice for Sampling Freshly Mixed Concrete

Table 1705.3

C199—1984(2016):

Test Method for Pier Test for Refractory Mortars

2111.6, 2111.9, 2113.12

C206—14:

Specification for Finishing Hydrated Lime

2109.2.4.8.7, Table 2507.2

C208—2022:

Specification for Cellulosic Fiber Insulating Board

Table 1508.2, 2303.1.6

C216—21:

Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale)

Table 721.1(2), 1807.1.6.3

C270—19ae1:

Specification for Mortar for Unit Masonry

Table 721.1(2), 2105.3, 2105A.3, 2115.4.1

C315—2007(2021):

Specification for Clay Flue Liners and Chimney Pots

2111.9, 2113.11.1, Table 2113.16(1)

C317/C317M—2000(2019):

Specification for Gypsum Concrete

2514.1

C330/C330M—2017A:

Specification for Lightweight Aggregates for Structural Concrete

202

C331/C331M—2017:

Specification for Lightweight Aggregates for Concrete Masonry Units

722.3.1.4, 722.4.1.1.3

C406/C406M—15:

Specification for Roofing Slate

1507.7.5

C472—20:

Standard Test Methods for Physical Testing of Gypsum, Gypsum Plasters and Gypsum Concrete

Table 2506.2

C473—2019:

Standard Test Methods for Physical Testing of Gypsum Panel Products

Table 2506.2

C474—15(2020):

Standard Test Methods for Joint Treatment Materials for Gypsum Board Construction

Table 2506.2

C475/C475M—2017:

Specification for Joint Compound and Joint Tape for Finishing Gypsum Board

Table 2506.2

C514—04(2020):

Standard Specification for Nails for the Application of Gypsum Board

Table 721.1(2), Table 721.1(3), Table 2506.2

C516—19:

Specifications for Vermiculite Loose Fill Thermal Insulation

722.3.1.4, 722.4.1.1.3

C547—19:

Specification for Mineral Fiber Pipe Insulation

Table 721.1(2), Table 721.1(3)

C549—18:

Specification for Perlite Loose Fill Insulation

722.3.1.4, 722.4.1.1.3

C552—22:

Standard Specification for Cellular Glass Thermal Insulation

Table 1508.2

C557—2003(2017):

Specification for Adhesives for Fastening Gypsum Wallboard to Wood Framing

Table 2506.2, 2508.4

C578—19:

Standard Specification for Rigid, Cellular Polystyrene Thermal Insulation

Table 1404.5.2.1, Table 1404.5.2.2, 1404.5.3.1, Table 1404.5.3.2, Table 1508.2, 2603.10

C587—2004(2018):

Specification for Gypsum Veneer Plaster

Table 2507.2

C595/C595M—21:

Specification for Blended Hydraulic Cements

1909.2.2, 1910A.1, Table 2507.2

C618—23e1:

Standard Specification for Coal Fly Ash and Raw or Calcined Natural Pozzolan for Use in Concrete

1909.2.2, 1910A.1

C631—2020:

Standard Specification for Bonding Compounds for Interior Gypsum Plastering

Table 2507.2

C635/C635M—2017:

Specification for the Manufacture, Performance and Testing of Metal Suspension Systems for Acoustical Tile and Lay-In Panel Ceilings

2506.2.1

C635/C635M—22:

Standard Specification for the Manufacture, Performance and Testing of Metal Suspension Systems for Acoustical Tile and Lay-In Panel Ceilings

2506.2.1, 1617A.1.21

C636/C636M—19:

Practice for Installation of Metal Ceiling Suspension Systems for Acoustical Tile and Lay-In Panels

808.1.1.1, 1617.11.16, 1617A.1.21

C652—21:

Specification for Hollow Brick (Hollow Masonry Units Made from Clay or Shale)

1807.1.6.3

C726—2017:

Standard Specification for Mineral Wool Roof Insulation Board

Table 1508.2

C728—2017A:

Standard Specification for Perlite Thermal Insulation Board

Table 1508.2

C744—2016:

Specification for Prefaced Concrete and Calcium Silicate Masonry Units

Table 722.3.2

C754—20:

Specification for Installation of Steel Framing Members to Receive Screw-Attached Gypsum Panel Products

Table 2508.1, Table 2511.1.1

C836/C836M—2018(2022):

Specification for High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane for Use with Separate Wearing Course

1507.14.2

C840—20:

Specification for Application and Finishing of Gypsum Board

Table 2508.1, 2509.2

C841—2003(2018):

Standard Specification for Installation of Interior Lathing and Furring

Table 2508.1, Table 2511.1.1

C842—05(2021):

Standard Specification for Application of Interior Gypsum Plaster

Table 2511.1.1, 2511.3, 2511.4

C843—2017:

Specification for Application of Gypsum Veneer Plaster

Table 2511.1.1

C844—2015(2021):

Specification for Application of Gypsum Base to Receive Gypsum Veneer Plaster

Table 2508.1

C847—2018:

Specification for Metal Lath

Table 2507.2

C887—20:

Specification for Packaged, Dry Combined Materials for Surface Bonding Mortar

1805.2.2, 2103.2.2

C897—15(2020):

Specification for Aggregate for Job-Mixed Portland Cement-Based Plasters

Table 2507.2

C920—2018:

Standard for Specification for Elastomeric Joint Sealants

703.7, Table 2506.2

C926—2021:

Specification for Application of Portland Cement-Based Plaster

2109.2.4.8.6, 2109.2.4.8.8, 2510.3, Table 2511.1.1, 2511.3, 2511.4, 2512.1, 2512.1.2, 2512.2, 2512.6, 2512.8.2, 2512.9, 2513.7

C932—06(2019):

Specification for Surface-Applied Bonding Compounds for Exterior Plastering

Table 2507.2

C933—2018:

Specification for Welded Wire Lath

Table 2507.2

C946—2018:

Standard Practice for Construction of Dry-Stacked, Surface-Bonded Walls

2103.2.2, 2114.5

C954—2018:

Specification for Steel Drill Screws for the Application of Gypsum Panel Products or Metal Plaster Bases to Steel Studs from 0.033 inch (0.84 mm) to 0.112 inch (2.84 mm) in Thickness

Table 2506.2, Table 2507.2

C956—04(2019):

Specification for Installation of Cast-In-Place Reinforced Gypsum Concrete

2514.1

C957/C957M—2017:

Specification for High-Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane with Integral Wearing Surface

1507.14.2

C989—22:

Standard Specification for Slag Cement for Use in Concrete and Mortars

1909.2.2, 1910.2.1, 1910A.1

C1002—20:

Specification for Steel Self-Piercing Tapping Screws for the Application of Gypsum Panel Products or Metal Plaster Bases to Wood Studs or Steel Studs

722.7.2.2, Table 2506.2, Table 2507.2

C1007—20:

Specification for Installation of Load Bearing (Transverse and Axial) Steel Studs and Related Accessories

Table 2508.1, Table 2511.1.1

C1019—20:

Test Method for Sampling and Testing Grout

2105A.3, 2105.3, 2115.4.1

C1029—20:

Specification for Spray-Applied Rigid Cellular Polyurethane Thermal Insulation

1507.13.2

C1032—2018:

Specification for Woven Wire Plaster Base

Table 2507.2

C1047—19:

Specification for Accessories for Gypsum Wallboard and Gypsum Veneer Base

Table 2506.2, Table 2507.2

C1063—21:

Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-based Plaster

2109.2.4.8.5, 2510.3, Table 2511.1.1, 2512.1.1

C1088—20:

Specification for Thin Veneer Brick Units Made from Clay or Shale

Table 721.1(2)

C1157/C1157M—20a:

Standard Performance Specification for Hydraulic Cement

1909.2.2, 1910A.1, Table 2507.2

C1167—2011(2017):

Specification for Clay Roof Tiles

1507.3.4

C1177/C1177M—2017:

Specification for Glass Mat Gypsum Substrate for Use as Sheathing

Table 1508.2, Table 2506.2

C1178/C1178M—2018:

Specification for Glass Mat Water-Resistant Gypsum Backing Panel

Table 2506.2, Table 2509.2

C1186—2008(2016):

Specification for Flat Fiber Cement Sheets

1403.9, 1404.17.1, 1404.17.2

C1249—18 (2023):

Standard Guide for Secondary Seal for Sealed Insulated Glass Units for Structural Sealant Glazing Applications

2410.1.1

C1261—2013(2017)E1:

Specification for Firebox Brick for Residential Fireplaces

2111.6, 2111.9

C1278/C1278M—2017:

Specification for Fiber-Reinforced Gypsum Panels

Table 1508.2, Table 2506.2

C1280—18:

Specification for Application of Exterior Gypsum Panel Products for Use as Sheathing

Table 2508.1, 2508.2

C1283—2015(2021):

Practice for Installing Clay Flue Lining

2113.9.1, 2113.12

C1288—2017:

Standard Specification for Fiber-Cement Interior Substrate Sheets

Table 2509.2

C1289—22:

Standard Specification for Faced Rigid Cellular Polyisocyanurate Thermal Insulation Board

Table 1404.5.2.1, Table 1404.5.2.2, Table 1508.2, 2603.10

C1313/C1313M—13(2019):

Standard Specification for Sheet Radiant Barriers for Building Construction Applications

1510.4

C1325—21:

Standard Specification for Fiber-Mat Reinforced Cementitious Backer Units

Table 2509.2

C1328/C1328M—19:

Specification for Plastic (Stucco Cement)

Table 2507.2

C1372—17:

Standard Specification for Dry-Cast Segmental Retaining Wall Units

1807.2.4

C1392—20:

Standard Guide for Evaluating Failure of Structural Sealant Glazing

2410.1.2, 2410.1.3

C1394—20:

Standard Guide for In-Situ Structural Silicone Glazing Evaluation

2410.1.3

C1396/C1396M—2017:

Specification for Gypsum Board

Figure 722.5.1(2), Figure 722.5.1(3), Table 2506.2

C1401—23:

Standard Guide for Structural Sealant Glazing

2410.1

C1492—2003(2016):

Standard Specification for Concrete Roof Tile

1507.3.5

C1568—08(2020):

Standard Test Method for Wind Resistance of Concrete and Clay Roof Tiles (Mechanical Uplift Resistance Method)

1504.3.1.1

C1569—03(2016):

Standard Test Method for Wind Resistance of Concrete and Clay Roof Tiles (Wind Tunnel Method)

1504.3.1.2

C1570—03(2016):

Standard Test Method for Wind Resistance of Concrete and Clay Roof Tiles (Air Permeability Method)

1504.3.1.3

C1586—20:

Standard Guide for Quality Assurance of Mortars

2105.3, 2105A.3

C1600/C1600M—19:

Standard Specification for Rapid Hardening Hydraulic Cement

Table 2507.2

C1629/C1629M—19:

Standard Classification for Abuse-Resistant Nondecorated Interior Gypsum Panel Products and Fiber Reinforced Cement Panels

403.2.2.1, 403.2.2.1, 403.2.2.3

C1658/C1658M—19e1:

Standard Specification for Glass Mat Gypsum Panels

Table 2506.2

C1707—18:

Standard Specification for Pozzolanic Hydraulic Lime for Structural Purposes

2109.2.4.8.7

C1714/C1714M—23:

Standard Specification for Preblended Dry Mortar Mix for Unit Masonry

2105.3, 2105A.3, 2115.4.1

C1766—2015(2019):

Standard Specification for Factory-Laminated Gypsum Panel Products

Table 2506.2

C1788—20:

Standard Specification for Non Metallic Plaster Bases (Lath) Used with Portland Cement Based Plaster in Vertical Wall Applications

2109.2.4.8.5

C1823/C1823M—20:

Standard Test Method for Shear Bond Strength of Adhered Dimension Stone

1413.2.1

C1902—20:

Standard Specification for Cellular Glass Insulation Used in Building and Roof Applications

1508.2, Table 1508.2

D25—2012(2017):

Specification for Round Timber Piles

1810.3.2.4, 2303.1.12

D41/D41M—2011(2016):

Specification for Asphalt Primer Used in Roofing, Dampproofing and Waterproofing

Table 1507.10.2

D43/D43M—2000(2018):

Specification for Coal Tar Primer Used in Roofing, Dampproofing and Waterproofing

Table 1507.10.2

D56—21a:

Test Method for Flash Point by Tag Closed Cup Tester

202

D86—20b:

Test Method for Distillation of Petroleum Products and Liquid Fuels at Atmospheric Pressure

202

D92—2018:

Test Method for Flash and Fire Points by Cleveland Open Cup Tester

202

D93—20:

Test Methods for Flash Point by Pensky-Martens Closed Cup Tester

202

D226/D226M—2017:

Specification for Asphalt-Saturated Organic Felt Used in Roofing and Waterproofing

1403.2, 1505.2, 1507.1.1, Table 1507.1.1(1), 1507.3.3, Table 1507.8, 1507.9.5, Table 1507.10.2, 1507.17.3, 1507.17.4.1

D227/D227M—2003(2018):

Specification for Coal-Tar-Saturated Organic Felt Used in Roofing and Waterproofing

Table 1507.10.2

D312/D312M—2016a:

Specification for Asphalt Used in Roofing

Table 1507.10.2

D448—2012(2017):

Standard Classification for Sizes of Aggregate for Road and Bridge Construction

1507.12.3

D450/D450M—2017(2018):

Specification for Coal-Tar Pitch Used in Roofing, Dampproofing and Waterproofing

Table 1507.10.2

D635—18:

Test Method for Rate of Burning and/or Extent and Time of Burning of Plastics in a Horizontal Position

2606.4

D1143/D1143M—20:

Standard Test Methods for Deep Foundation Elements Under Static Axial Compressive Load

1810.3.3.1.2

D1227—13(2019)e1:

Specification for Emulsified Asphalt Used as a Protective Coating for Roofing

Table 1507.10.2

D1557—12(2021):

Test Methods for Laboratory Compaction Characteristics of Soil Using Modified Effort [56,000 ft-lbf/ft3 (2,700 kN m/m3)]

1705.6, 1804.6

D1586—18e1:

Standard Test Method for Standard Penetration Test (SPT) and Split-Barrel Sampling of Soils

1813, 1813A.2

D1863/D1863M—2005(2018):

Specification for Mineral Aggregate Used on Built-up Roofs

Table 1504.8, Table 1507.10.2

D1929—20:

Standard Test Method for Determining Ignition Temperature of Plastics

402.6.4.4, 406.7.2, Table 1507.1.1(1), Table 1507.1.1(2), 2606.4

D1970/D1970M—21:

Specification for Self-Adhering Polymer Modified Bituminous Sheet Materials Used as Steep Roof Underlayment for Ice Dam Protection

1507.1.1, Table 1507.1.1(1), Table 1507.1.1(2), 1507.3.9, 1507.5.7, 1507.8.8, 1507.9.9, 1507.11.2.1, 1507.17.4.1

D2178/D2178M—15A(2021):

Specification for Asphalt Glass Felt Used in Roofing and Waterproofing

Table 1507.10.2

D2487—17e1:

Practice for Classification of Soils for Engineering Purposes (Unified Soil Classification System)

Table 1610.1, 1803.5.1

D2626/D2626M—04(2020):

Specification for Asphalt Saturated and Coated Organic Felt Base Sheet Used in Roofing

1507.1.1, Table 1507.1.1(1), 1507.3.3, Table 1507.10.2

D2737—21:

Standard Specification for Polyethylene (PE) Plastic Tubing

D2822/D2822M—2005(2011)e1:

Specification for Asphalt Roof Cement, Asbestos Containing

Table 1507.10.2

D2823/D2823M—05(2011)e1:

Specification for Asphalt Roof Coatings, Asbestos Containing

Table 1507.10.2

D2824/D2824M—2018:

Standard Specification for Aluminum-pigmented Asphalt Roof Coatings, Nonfibered and Fibered without Asbestos

Table 1507.10.2

D2843—22:

Standard Test Method for Density of Smoke from the Burning or Decomposition of Plastics

2606.4

D2859—2016:

Standard Test Method for Ignition Characteristics of Finished Textile Floor Covering Materials

804.4.1, 804.4.2

D2898—2010(2017):

Standard Practice for Accelerated Weathering of Fire-Retardant-Treated Wood for Fire Testing

1505.1, 2303.2.5, 2303.2.7

D3019/D3019M—2017:

Specification for Lap Cement Used with Asphalt Roll Roofing, Nonfibered, Asbestos Fibered and Nonasbestos Fibered

Table 1507.10.2

D3161/D3161M—20:

Test Method for Wind Resistance of Steep Slope Roofing Products (Fan Induced Method)

1504.2, Table 1504.2, 1504.4.3, 1504.4.4

D3200—1974(2017):

Standard Specification and Test Method for Establishing Recommended Design Stresses for Round Timber Construction Poles

2303.1.12

D3201/D3201M—20:

Test Method for Hygroscopic Properties of Fire-Retardant Wood and Wood-Base Products

2303.2.8

D3278—21:

Test Methods for Flash Point of Liquids by Small Scale Closed-Cup Apparatus

202

D3462/D3462M—19:

Specification for Asphalt Shingles Made from Glass Felt and Surfaced with Mineral Granules

1507.2.4

D3468/D3468M—99(2020):

Specification for Liquid-Applied Neoprene and Chlorosulfonated Polyethylene Used in Roofing and Waterproofing

1507.14.2

D3498—19a:

Standard Specification for Adhesives for Field-Gluing Wood Structural Panels (Plywood or Oriented Strand Board) to Wood Based Floor System Framing

703.7

D3679—21:

Specification for Rigid Poly (Vinyl Chloride) (PVC) Siding

1403.8, 1404.15

D3689/D3689M—2022:

Test Methods for Deep Foundations under Static Axial Tensile Load

1810.3.3.1.5

D3737—2018E1:

Practice for Establishing Allowable Properties for Structural Glued Laminated Timber (Glulam)

2303.1.3

D3746/D3746M—1985(2015)E1:

Test Method for Impact Resistance of Bituminous Roofing Systems

1504.7

D3747—79(2007):

Specification for Emulsified Asphalt Adhesive for Adhering Roof Insulation

Table 1507.10.2

D3909/D3909M—14(2021):

Standard Specification for Asphalt Roll Roofing (Glass Felt) Surfaced with Mineral Granules

1507.2.8.2, 1507.6.5, Table 1507.10.2

D3957—2009(2020):

Standard Practices for Establishing Stress Grades for Structural Members Used in Log Buildings

2303.1.11

D3966—22:

Standard Test Method for Deep Foundations Under Lateral Loads

1810A.3.3.2

D4022/D4022M—07(2012)e1:

Specification for Coal Tar Roof Cement, Asbestos Containing

Table 1507.10.2

D4272—15:

Test Method for Total Energy Impact of Plastic Films by Dart Drop

1504.7

D4318—2017e1:

Test Methods for Liquid Limit, Plastic Limit and Plasticity Index of Soils

1803.5.3

D4434/D4434M—21:

Specification for Poly (Vinyl Chloride) Sheet Roofing

Table 1507.12.2

D4479/D4479M—2007(2018):

Specification for Asphalt Roof Coatings—Asbestos-Free

Table 1507.10.2

D4586/D4586M—2007(2018):

Specification for Asphalt Roof Cement—Asbestos-Free

Table 1507.10.2

D4601/D4601M—04(2020):

Specification for Asphalt-Coated Glass Fiber Base Sheet Used in Roofing

Table 1507.10.2, 1507.11.2.1

D4637/D4637M—2015(2021):

Specification for EPDM Sheet Used in Single-Ply Roof Membrane

Table 1507.12.2

D4829—21:

Test Method for Expansion Index of Soils

1803.5.3

D4869/D4869M—2016A(2021):

Specification for Asphalt-Saturated (Organic Felt) Underlayment Used in Steep Slope Roofing

1507.1.1, Table 1507.1.1(1), 1507.17.3, 1507.17.4.1

D4897/D4897M—2016:

Specification for Asphalt-Coated Glass Fiber Venting Base Sheet Used in Roofing

Table 1507.10.2

D4945—2017:

Test Method for High-Strain Dynamic Testing of Deep Foundations

1705.10, 1810.3.3.1.2

D4990—97a(2020):

Specification for Coal Tar Glass Felt Used in Roofing and Waterproofing

Table 1507.10.2

D5019—07a(2013):

Specification for Reinforced Nonvulcanized Polymeric Sheet Used in Roofing Membrane

Table 1507.12.2

D5055—19e1:

Specification for Establishing and Monitoring Structural Capacities of Prefabricated Wood I-Joists

2303.1.2

D5456—21e1:

Standard Specification for Evaluation of Structural Composite Lumber Products

2303.1.10

D5516—2018:

Test Method of Evaluating the Flexural Properties of Fire-Retardant Treated Softwood Plywood Exposed to Elevated Temperatures

2303.2.6.1

D5643/D5643M—2006(2018):

Specification for Coal Tar Roof Cement, Asbestos-Free

Table 1507.10.2

D5664—2017:

Test Methods for Evaluating the Effects of Fire-Retardant Treatments and Elevated Temperatures on Strength Properties of Fire-Retardant-Treated Lumber

2303.2.6.2

D5665/D5665M—99a(2021):

Specification for Thermoplastic Fabrics Used in Cold-Applied Roofing and Waterproofing

Table 1507.10.2

D5726—98(2020):

Specification for Thermoplastic Fabrics Used in Hot-Applied Roofing and Waterproofing

Table 1507.10.2

D5778—20:

Standard Test Method for Electronic Friction Cone and Piezocone Penetration Testing of Soils

1813, 1813A.2

D5878—19:

Standard Guides for Using Rock-Mass Classification Systems for Engineering Purposes

1803.5.1

D5882—16:

Standard Test Method for Low Strain Impact Integrity Testing of Deep Foundations

1705.10

D6083/D6083M—21:

Specification for Liquid Applied Acrylic Coating Used in Roofing

Table 1507.10.2, Table 1507.13.3

D6162/D6162M—2016:

Specification for Styrene Butadiene Styrene (SBS) Modified Bituminous Sheet Materials Using a Combination of Polyester and Glass Fiber Reinforcements

1507.11.2

D6163/D6163M—2016:

Specification for Styrene Butadiene Styrene (SBS) Modified Bituminous Sheet Materials Using Glass Fiber Reinforcements

1507.11.2

D6164/D6164M—2016:

Specification for Styrene Butadiene Styrene (SBS) Modified Bituminous Sheet Materials Using Polyester Reinforcements

1507.11.2

D6222/D6222M—2016:

Specification for Atactic Polypropylene (APP) Modified Bituminous Sheet Materials Using Polyester Reinforcements

1507.11.2

D6223/D6223M—2016:

Specification for Atactic Polypropylene (APP) Modified Bituminous Sheet Materials Using a Combination of Polyester and Glass Fiber Reinforcements

1507.11.2

D6298—2016:

Specification for Fiberglass Reinforced Styrene-Butadiene-Styrene (SBS) Modified Bituminous Sheets with a Factory Applied Metal Surface

1507.11.2

D6305—21:

Practice for Calculating Bending Strength Design Adjustment Factors for Fire-Retardant-Treated Plywood Roof Sheathing

2303.2.6.1

D6380/D6380M—2003(2018):

Standard Specification for Asphalt Roll Roofing (Organic Felt)

1507.1.1, Table 1507.1.1(1), 1507.2.8.2, 1507.3.3, 1507.6.5

D6464—2003A(2017):

Standard Specification for Expandable Foam Adhesives for Fastening Gypsum Wallboard to Wood Framing

Table 2506.2, 2508.4

D6509/D6509M—2016:

Standard Specification for Atactic Polypropylene (APP) Modified Bituminous Base Sheet Materials Using Glass Fiber Reinforcements

1507.11.2

D6694/D6694M—08(2013)E1:

Standard Specification for Liquid-Applied Silicone Coating Used in Spray Polyurethane Foam Roofing Systems

Table 1507.13.3

D6754/D6754M—2015:

Standard Specification for Ketone Ethylene Ester Based Sheet Roofing

Table 1507.12.2

D6757/D6757M—2018:

Specification for Underlayment Felt Containing Inorganic Fibers Used in Steep Slope Roofing

1507.1.1, Table 1507.1.1(1), 1507.17.3, 1507.17.4.1

D6760—16:

Standard Test Method for Integrity Testing of Concrete Deep Foundations by Ultrasonic Crosshole Testing

1705.10

D6841—21:

Standard Practice for Calculating Design Value Treatment Adjustment Factors for Fire-Retardant-Treated Lumber

2303.2.6.2

D6878/D6878M—2021:

Standard Specification for Thermoplastic Polyolefin Based Sheet Roofing

Table 1507.12.2

D6913/D6913M—17:

Standard Test Methods for Particle-Size Distribution (Gradation) of Soils Using Sieve Analysis

1803.5.3

D6947/D6947M—2016:

Standard Specification for Liquid Applied Moisture Cured Polyurethane Coating Used in Spray Polyurethane Foam Roofing System

Table 1507.13.3

D7032—2021:

Standard Specification for Establishing Performance Ratings for Wood-Plastic Composite and Plastic Lumber Deck Boards, Stair Treads, Guards and Handrails

705.2.3.1, 2612.2, 2612.4, 2612.5.1

D7147—21:

Specification for Testing and Establishing Allowable Loads of Joist Hangers

2303.5, 2304.10.4

D7158/D7158M—20:

Standard Test Method for Wind Resistance of Asphalt Shingles (Uplift Force/Uplift Resistance Method)

1504.2, Table 1504.2

D7254—2021:

Standard Specification for Polypropylene (PP) Siding

1403.11

D7425/D7425M—13(2019):

Standard Specification for Spray Polyurethane Foam Used for Roofing Applications

1507.13.2

D7655/D7655M—2012(2017):

Standard Classification for Size of Aggregate Used as Ballast for Roof Membrane Systems

1507.12.3

D7672—19:

Standard Specification for Evaluating Structural Capacities of Rim Board Products and Assemblies

2303.1.13

D7793—20:

Standard Specification for Insulated Vinyl Siding

1403.14

D7949—14:

Standard Test Methods for Thermal Integrity Profiling of Concrete Deep Foundations

1705.10

D7957/D7957M—17:

Standard Specification for Solid Round Glass Fiber Reinforced Polymer Bars for Concrete Reinforcement

1901.2.1

D8223—19:

Standard Practice for Evaluation of Fire-Retardant Treated Laminated Veneer Lumber

2303.2.6.3

D8257/D8257M—20:

Standard Specification for Mechanically Attached Polymeric Roof Underlayment Used in Steep Slope Roofing

1507.1.1, Table 1507.1.1(1)

E84—21a:

Standard Test Methods for Surface Burning Characteristics of Building Materials

202, 402.6.4.4, 406.7.2, 424.2, 602.4.1.1, 602.4.2.1, 602.4.3.1, 720.1, 720.4, 803.1.2, 803.5.2, 803.10, 803.11, 803.12, 803.13, 806.6, 1402.6, 1403.11.1, 1406.9, 1406.10.1, 1408.9, 1408.10.1, 1511.6.2, 1511.6.3, 2303.2, 2603.3, 2603.4.1.13, 2603.5.4, 2603.5.5, 2603.7, 2604.2.4, 2606.4, 2612.3, 2614.3, 3105.3

E90—2009(2016):

Test Method for Laboratory Measurement of Airborne Sound Transmission Loss of Building Partitions and Elements

1206.2, 1206.2.1

E96/E96M—21:

Standard Test Methods for Gravimetric Determination of Water Vapor Transmission Rate of Materials

202, 1202.3, 1404.3

E108—20a:

Standard Test Methods for Fire Tests of Roof Coverings

1505.1, 2603.6, 2610.2, 2610.3

E119—20:

Standard Test Methods for Fire Tests of Building Construction and Materials

705.8.5, 703.2.1.1, 703.2.1.3, 703.2.1.4, 703.2.1.5, 703.2.2, 703.4, 703.6, 704.11, 705.8, 707.6, 712.1.13.2, 714.4.1, 714.5.1, 715.3, 715.4, 715.4.1, Table 716.1(1), Table 716.1(2), Table 716.1(3), 716.1.2.3, 716.2.5.1.1, 716.2.5.4, 716.3.2.1.1, 717.3.1, 717.5.2, 717.5.3, 717.6.1, 717.6.2, Table 721.1(1), 2103.1, 2603.5.1

E136—2022:

Standard Test Method for Assessing Combustibility of Materials Using a Vertical Tube Furnace at 750 Degrees C

703.3.1

E283/E283M—19:

Standard Test Method for Determining Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen

202

E330/E330M—14(2021):

Test Method for Structural Performance of Exterior Windows, Doors, Skylights and Curtain Walls by Uniform Static Air Pressure Difference

1709.5.2, 1709.5.2.1, 1709.5.3.1

E331—2000(2016):

Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors and Curtain Walls by Uniform Static Air Pressure Difference

1402.2, 1403.2

E336—20:

Standard Test Method for Measurement of Airborne Sound Attenuation between Rooms in Buildings

1206.2

E492—2009(2016)E1:

Test Method for Laboratory Measurement of Impact Sound Transmission Through Floor-Ceiling Assemblies Using the Tapping Machine

1206.3

E580/E580M—22:

Standard Practice for Installation of Ceiling Suspension Systems for Acoustical Tile and Lay-in Panels in Areas Subject to Earthquake Ground Motions

1617.12.13, 1617A.1.21

E605/E605M—19:

Test Method for Thickness and Density of Sprayed Fire-Resistive Material (SFRM) Applied to Structural Members

1705.15.4.1, 1705.15.4.2, 1705.15.4.5, 1705.15.5

E648—2017A:

Standard Test Method for Critical Radiant Flux of Floor-Covering Systems Using a Radiant Heat Energy Source

406.2.4, 424.2, 804.2, 804.3

E662—17a:

Standard Test Method for Specific Optical Density of Smoke Generated by Solid Materials

804.4.1, 804.4.2

E681—09(2015):

Test Methods for Concentration Limits of Flammability of Chemical Vapors and Gases

202

E736/E736M—19:

Test Method for Cohesion/Adhesion of Sprayed Fire-Resistive Materials Applied to Structural Members

704.12.3.2, 1705.15.6

E814—2013A(2017):

Standard Test Method for Fire Tests of Penetration Firestop Systems

202, 714.4.1.2, 714.4.2, 714.5.1.2

E970—2017:

Standard Test Method for Critical Radiant Flux of Exposed Attic Floor Insulation Using a Radiant Heat Energy Source

720.3.1

E1007—21:

Standard Test Method for Field Measurement of Tapping Machine Impact Sound Transmission through Floor-Ceiling Assemblies and Associated Support Structures

1206.3

E1300—2016:

Practice for Determining Load Resistance of Glass in Buildings

2404.1, 2404.2, 2404.3.1, 2404.3.2, 2404.3.3, 2404.3.4, 2404.3.5

E1354—2017:

Standard Test Method for Heat and Visible Smoke Release Rates for Materials and Products Using an Oxygen Consumption Calorimeter

424.2, 602.4.1.1, 602.4.2.1, 602.4.3.1, 1402.6

E1592—2005(2017):

Test Method for Structural Performance of Sheet Metal Roof and Siding Systems by Uniform Static Air Pressure Difference

1504.4.2

E1602—2003(2017):

Guide for Construction of Solid Fuel Burning Masonry Heaters

2112.2

E1886—19:

Standard Test Method for Performance of Exterior Windows, Curtain Walls, Doors and Impact Protective Systems Impacted by Missile(s) and Exposed to Cyclic Pressure Differentials

1609.2, 1709.5.3.1

E1966—15(2019):

Standard Test Method for Fire-Resistive Joint Systems

202, 715.3.1, 1709.5.3.1

E1996—20:

Specification for Performance of Exterior Windows, Curtain Walls, Doors and Impact Protective Systems Impacted by Windborne Debris in Hurricanes

1609.2, 1709.5.3.1

E2072—14:

Standard Specification for Photoluminescent (Phosphorescent) Safety Markings

1025.4

E2174—20a:

Standard Practice for On-site Inspection of Installed Fire Stops

1705.18.1

E2178—21a:

Standard Test Method for Determining Air Leakage Rate and Calculation of Air Permeance of Building Materials

202

E2273—2018:

Standard Test Method for Determining the Drainage Efficiency of Exterior Insulation and Finish Systems (EIFS) Clad Wall Assemblies

1407.4.1, 2510.6.2

E2307—20:

Standard Test Method for Determining Fire Resistance of Perimeter Fire Barriers Using the Intermediate-Scale, Multistory Test Apparatus

715.4

E2353—21:

Standard Test Methods for Performance of Glazing in Permanent Railing Systems, Guards and Balustrades

2407.1.2

E2392 / E2392M—10(2016):

Standard Guide for Design of Earthen Wall Building Systems

2109.2.4.8.9.2

E2393—20a:

Standard Practice for On-Site Inspection of Installed Fire Resistive Joint Systems and Perimeter Fire Barriers

1705.18.2

E2404—17:

Standard Practice for Specimen Preparation and Mounting of Textile, Paper or Polymeric (Including Vinyl) and Wood Wall or Ceiling Coverings, Facing and Veneers to Assess Surface Burning Characteristics

803.5.2, 803.12, 1402.6

E2556/E2556M—2010(2016):

Standard Specification for Vapor Permeable Flexible Sheet Water-resistive Barriers Intended for Mechanical Attachment

1403.2, 2510.6.1

E2568—2017A:

Standard Specification for PB Exterior Insulation and Finish Systems

1407.2

E2570/E2570M—07(2019):

Standard Test Methods for Evaluating Water-Resistive Barrier (WRB) Coatings Used under Exterior Insulation and Finish Systems (EIFS) or EIFS with Drainage

1407.4.1.1, 1705.17.1

E2573—19:

Standard Practice for Specimen Preparation and Mounting of Site-fabricated Stretch Systems to Assess Surface Burning Characteristics

803.10

E2579—21:

Standard Practice for Specimen Preparation and Mounting of Wood Products to Assess Surface Burning Characteristics

803.11

E2599—2018:

Standard Practice for Specimen Preparation and Mounting of Reflective Insulation, Radiant Barrier and Vinyl Stretch Ceiling Materials for Building Applications to Assess Surface Burning Characteristics

2614.3

E2632/E2632M—13:

Standard Test Method for Evaluating the Under-Deck Fire Test Response of Deck Materials

709A.3, 709A.4, 709A.4.1, 709A.5

E2634—2018:

Standard Specification for Flat Wall Insulating Concrete Form (ICF) Systems

1903.3

E2652—18:

Standard Test Method for Assessing Combustibility of Materials Using a Tube Furnace with a Cone-shaped Airflow Stabilizer, at 750oC

703.3.1

E2707—15:

Standard Test Method for Determining Fire Penetration of Exterior Wall Assemblies Using a Direct Flame Impingement Exposure

707A.3, 707A.3.1, 708A.3

E2726/E2726—12a:

Standard Test Method for Evaluating the Fire-Test-Response of Deck Structures to Burning Brands

709A.3, 709A.4, 709A.4.2

E2751/E2751M—2017A:

Practice for Design and Performance of Supported Laminated Glass Walkways

2409.1

E2768—11(2018):

Standard Test Method for Extended Duration Surface Burning Characteristics of Building Materials (30 min Tunnel Test)

2303.2.1

E2837—2013(2017):

Standard Test Method for Determining the Fire Resistance of Continuity Head-of-Wall Joint Systems Installed Between Rated Wall Assemblies and Nonrated Horizontal Assemblies

715.6

E2925—19a:

Standard Specification for Manufactured Polymeric Drainage and Ventilation Materials Used to Provide a Rainscreen Function

2510.6.2

E3121—17:

Standard Test Methods for Field Testing of Anchors in Concrete or Masonry

1901.3.4.3, 1910A.5.2, 1909.2.6.2, 1909.2.6.5, 1910A.5.5

F547—2017:

Terminology of Nails for Use with Wood and Wood-Base Materials

Table 2506.2

F606/F606M—21:

Standard Test Methods for Determining the Mechanical Properties of Externally and Internally Threaded Fasteners, Washers, Direct Tension Indicators, and Rivets

2213.1, 2213A.1

F1292—99:

Standard Specification for Impact Attenuation of Surface Systems Under and Around Playground Equipment

11B-1008.2.6.2

F1292—04:

Standard Specification for Impact Attenuation of Surface Systems Under and Around Playground Equipment

11B-1008.2.6.2

F1487—01:

Standard Consumer Safety Performance Specification for Playground Equipment for Public Use

202-USE ZONE

F1667—21a:

Specification for Driven Fasteners: Nails, Spikes and Staples

Table 721.1(2), Table 721.1(3), Table 1404.5.3.1, Table 1404.5.3.2, 1507.2.5, 1507.16.5, 2303.6, Table 2304.10.2, 2304.10.6, Table 2506.2

F1951—99:

Standard Specification for Determination of Accessibility of Surface Systems Under and Around Playground Equipment:

11B-1008.2.6.1

F2006—21:

Standard Safety Specification for Window Fall Prevention Devices for Non-emergency Escape (Egress) and Rescue (Ingress) Windows

1015.8

F2090—21:

Specification for Window Fall Prevention Devices with Emergency Escape (Egress) Release Mechanisms

1015.8.1, 1015.8

F2200—2017:

Standard Specification for Automated Vehicular Gate Construction

3110.2

F2374—2021:

Standard Practice for Design, Manufacture, Operation, and Maintenance of Inflatable Amusement Devices

3102

AWC

American Wood Council,

222 Catoctin Circle SE, Suite 201,

Leesburg, VA 20175

ANSI/AWC NDS—2024:

National Design Specification (NDS) for Wood Construction—with 2018 [DSA-SS, DSA-SS/CC, OSHPD 1, 1R, 2, 4 and 5] 2024 NDS Supplement

202, 722.1, Table 1404.5.3.2, Table 1604.3, 1809.12, 1810.3.2.4, Table 1810.3.2.6, 1905.7.2, Table 2304.6.1, Table 2304.10.2, 2304.13, 2305.1.2, 2306.1, Table 2306.2(1), Table 2306.2(2), Table 2306.3(1), Table 2306.3(2), 2307.1

ANSI/AWC PWF—2021:

Permanent Wood Foundation Design Specification

1805.2, 1807.1.4, 2304.10.6.2

ANSI/AWC SDPWS—2021:

Special Design Provisions for Wind and Seismic

202, 1604.4, 2305.1, 2305.1.2, 2305.2, 2305.3, 2306.1, 2306.2, 2306.3, Table 2306.3(1), Table 2306.3(3), 2307.1

ANSI/AWC WFCM—2024:

Wood Frame Construction Manual for One- and Two-Family Dwellings

1609.1.1, 1609.1.1.1, 2302.1, 2308.2.4, 2308.10.7.2, 2309.1

AWC STJR—2024:

Span Tables for Joists and Rafters

2306.1.1, 2308.8.2.1, 2308.11.1, 2308.11.2

AWC WCD No. 4—2003:

Wood Construction Data—Plank and Beam Framing for Residential Buildings

2306.1.2

AWCI

Association of the Wall and Ceiling Industry,

513 West Broad Street, Suite 210,

Falls Church, VA 22046

12-B—14:

Technical Manual 12B, Third Edition; Standard Practice for the Testing and Inspection of Field Applied Thin Film Intumescent Fire-resistive Materials; an Annotated Guide

1705.16

AWPA

American Wood Protection Association,

P.O. Box 361784,

Birmingham, AL 35236-1784

C1—03:

All Timber Products—Preservative Treatment by Pressure Processes

1505.6

M4—21:

Standard for the Handling, Storage, Field Fabrication and Field Treatment of Preservative-treated Wood Products

1810.3.2.4.1, 2303.1.9

U1—23:

USE CATEGORY SYSTEM: User Specification for Treated Wood Except Commodity Specification H

Table 1507.9.6, 1807.1.4, 1807.3.1, 1809.12, 1810.3.2.4.1, 1812.2, 1812A.2, 2303.1.9, 2304.12.1, 2304.12.2, 2304.12.2.6, 2304.12.2.7, 2304.12.2.8, 2306.1.3

AWS

American Welding Society,

8669 NW 36 Street, #130,

Miami, FL 33166-6672

B5.1—2013-AMD1:

Specification for the Qualification of Welding Inspectors

1705.2.7, 1705A.2.7

D1.1/D1.1M—20:

Structural Welding Code—Steel

1705.2.7, Table 1705A.2.1, 1705A.2.7, 2003.1, 2201.4.1, 2202.4.2, 2202.4.3, 2202.4.4, 2202.4.5, 2215.6.2, 2216.2, 2201A.4.1, 2202A.4.2, 2202A.4.3, 2202A.4.4, 2202A.4.5, 2216A.2

D1.2/D1.2M—14:

Structural Welding Code—Aluminum

2003.1

D1.3/D1.3M—2018:

Structural Welding Code—Sheet Steel

Table 1705A.2.1, 1705.2.7, 1705A.2.7

D1.4/D1.4M—2018-AMD1:

Structural Welding Code—Steel Reinforcing Bars

1704.5, 1705.2.7, Table 1705.3, 1705.3.1, 1704A.5, 1705A.2.7, Table 1705A.3, 1705A.3.1, 1903.5, 1903A.5, 2107.3, 2107A.3

D1.6D/1.6M—2017:

Structural Welding Code—Stainless Steel

Table 1705A.2.1, 1705A.2.7

D1.8/D1.8M—2021:

Structural Welding Code—Seismic Supplement

Table 1705A.2.1, 1705.2.5, 1705A.2.7

QC1—2016:

Specification for AWS Certification of Welding Inspectors

1705.2.7, 1705A.2.7

BHMA

Builders Hardware Manufacturers' Association

355 Lexington Avenue, 15th Floor

New York, NY 10017

A156.10—2022:

Power Operated Pedestrian Doors

1010.3.2, 11B-404.2.9, 11B-404.3

A156.19—2019:

Power Assist and Low Energy Power Operated Doors

1010.3.2, 11B-404.2.9, 11B-404.3, 11B-408.3.2.1, 11B-409.3.1

A156.27—2019:

Power and Manual Operated Revolving Pedestrian Doors

1010.3.1.1

A156.38—2019:

Low Energy Power Operated Sliding and Folding Doors

1010.3.2

CEN

European Committee for Standardization (CEN),

Rue de la Science 23,

Brussels, Belgium 1000

BS EN 15250—2007:

Slow Heat Release Appliances Fired by Solid Fuel—Requirements and Test Methods

2112.2, 2112.5

EN 1081—98:

Resilient Floor Coverings—Determination of the Electrical Resistance

406.7.1

CPA

Composite Panel Association,

19465 Deerfield Avenue, Suite 306,

Leesburg, VA 20176

ANSI A135.4—2012(R2020):

Basic Hardboard

1403.3.1, 2303.1.7

ANSI A135.5—2012(R2020):

Prefinished Hardboard Paneling

2303.1.7, 2304.7

ANSI A135.6—2012(R2020):

Engineered Wood Siding

1403.3.2, 2303.1.7

ANSI A208.1—2016:

Particleboard

2303.1.8, 2303.1.8.1

CPSC

Consumer Product Safety Commission,

4330 East/West Highway,

Bethesda, MD 20814

16 CFR Part 1201 (2002):

Safety Standard for Architectural Glazing Material

2406.2, Table 2406.2(1), 2406.3.1, 2407.1, 2407.1.4, 2408.2.1, 2408.3, 2409.2, 2409.4.1

16 CFR Part 1209 (2002):

Interim Safety Standard for Cellulose Insulation

720.6

16 CFR Part 1404 (2002):

Cellulose Insulation

720.6

16 CFR Part 1500 (2009):

Hazardous Substances and Articles; Administration and Enforcement Regulations

202

16 CFR Part 1500.44 (2009):

Method for Determining Extremely Flammable and Flammable Solids

202

16 CFR Part 1507 (2002):

Fireworks Devices

202

16 CFR Part 1630 (2007):

Standard for the Surface Flammability of Carpets and Rugs

804.4.1

CSA

Canadian Standards Association,

8501 East Pleasant Valley Road,

Cleveland, OH 44131

AAMA/WDMA/CSA 101/I.S.2/A440—22:

North American Fenestration Standard/Specifications for Windows, Doors, and Skylights

1709.5.1, 2405.5

ASME A17.1—2022/CSA B44-—22 the edition as referenced in:

Safety Code for Elevators and Escalators, California Code of Regulations, Title 8, Division 1, Chapter 4, Subchapter 6, Elevator Safety Orders

907.3.3, 911.1.6, 1009.4.1, 1607.12.1, 3001.2, Table 3001.3, 3001.5, 3002.5, 3003.2, 3007.1, 3008.1.4, 3008.7.1

ASME A17.7—2007/CSA B44.7—07(R2021):

Performance-based Safety Code for Elevators and Escalators

Table 3001.3, 3001.5, 3002.5

CSSB

Cedar Shake & Shingle Bureau,

P. O. Box 1178,

Sumas, WA 98295-1178

CSSB—97:

Grading and Packing Rules for Western Red Cedar Shakes and Western Red Cedar Shingles of the Cedar Shake and Shingle Bureau

Table 1507.8.5, Table 1507.9.6

DASMA

Door & Access Systems Manufacturers Association International,

1300 Sumner Avenue,

Cleveland, OH 44115

ANSI/DASMA 103—2017:

Standard for Counterbalance Systems on Residential Sectional Garage Doors

1210.4

ANSI/DASMA 107—2020:

Room Fire Test Standard for Garage Doors Using Foam Plastic Insulation

2603.4.1.9

ANSI/DASMA 108—2017:

Standard Method for Testing Sectional Garage Doors, Rolling Doors and Flexible Doors: Determination of Structural Performance Under Uniform Static Air Pressure Difference

1709.5.2.1

ANSI/DASMA 115—2017:

Standard Method for Testing Sectional Doors, Rolling Doors and Flexible Doors: Determination of Structural Performance Under Missile Impact and Cyclic Wind Pressure

1609.2.2

DHA

Decorative Hardwoods Association,

42777 Trade West Dr,

Sterling, VA 20166

ANSI/HPVA HP-1—2022:

American National Standard for Hardwood and Decorative Plywood

2303.3, 2304.7

DOC

U.S. Department of Commerce,
National Institute of Standards and Technology

100 Bureau Drive,

Gaithersburg, MD 20899

PS 1—22:

Structural Plywood

2303.1.5, 2304.7, Table 2304.8(4), Table 2304.8(5), Table 2306.2(1), Table 2306.2(2)

PS 2—18:

Performance Standard for Wood Structural Panels

2303.1.5, 2304.7, Table 2304.8(5), Table 2306.2(1), Table 2306.2(2)

PS 20—20:

American Softwood Lumber Standard

202, 1810.3.2.4, 2303.1.1

DOL

U.S. Department of Labor,
Occupational Safety and Health Administration

c/o Superintendent of Documents

U.S. Government Printing Office,

Washington, DC 20210

29 CFR Part 1910.1000 (2015):

Air Contaminants

202

DOTn

U.S. Department of Transportation,
Office of Hazardous Material Safety

1200 New Jersey Avenue, SE,

East Building, 2nd Floor

Washington, DC 20590

49 CFR 173.192—2011:

Packaging for Certain Toxic Gases in Hazard Zone A

Table 415.6.5

49 CFR Parts 100—185—2015:

Hazardous Materials Regulations

202

49 CFR Parts 173—178—2015:

Specification of Transportation of Explosive and Other Dangerous Articles, UN 0335, UN 0336 Shipping Containers

202

49 CFR Parts 173.137—2009:

Shippers—General Requirements for Shipments and Packaging—Class 8—Assignment of Packing Group

202

EN

European Committee for Standardization,

Rue de la Science 23 B,

Brussels, Belgium 1040 Belgium

EN 459-1—15:

Building Lime. Definitions, Specifications and Conformity Criteria

2109.2.4.8.7

FEMA

Federal Emergency Management Agency,

500 C Street S.W.,

Washington, DC 20472

FEMA-TB-11—23:

Crawlspace Construction for Buildings Located in Special Flood Hazard Areas

1805.1.2.1

FM

FM Approvals,
Headquarters Office

1151 Boston-Providence Turnpike

P.O. Box 9102,

Norwood, MA 02062

FM 1950—2022:

American National Standard for Seismic Sway Braces for Pipe, Tubing and Conduit

1705.14.2, 1705A.14.2

3260—00:

Radiant Energy-Sensing Fire Detectors for Automatic Fire Alarm Signaling

3011—99:

Approval Standard for Central Station Service for Fire Alarm and Protective Equipment Supervision

907.6.6.4

4430—2012:

Approval Standard for Heat and Smoke Vents

910.3.1

4450—(1989):

Approval Standard for Class 1 Insulated Steel Deck Roofs—with Supplements through July 1992

1510.2

4470—2016:

Approval Standard for Single-ply Polymer-modified Bitumen Sheet, Built-up Roof (BUR) and Liquid Applied Roof Assemblies for Use in Class 1 and Noncombustible Roof Deck Construction

1504.7

4474—2020:

American National Standard for Evaluating the Simulated Wind Uplift Resistance of Roof Assemblies Using Static Positive and/or Negative Differential Pressures

1504.4.1, 1504.4.2, 1504.4.3

ANSI/FM 4880—2017:

American National Standard for Evaluating the Fire Performance of Insulated Building Panel Assemblies and Interior Finish Materials

2603.4, 2603.9

GA

Gypsum Association,

962 Wayne Avenue, Suite 620,

Silver Spring, MD 20910

GA-216—2021:

Application and Finishing of Gypsum Panel Products

Table 2508.1, 2509.2

GA-253—2021:

Application of Gypsum Sheathing

Table 2508.1, 2508.2

GA-600—2021:

Fire-resistance and Sound Control Design Manual, 23rd Edition

Table 721.1(1), Table 721.1(2), Table 721.1(3)

ICC

International Code Council, Inc.,

200 Massachusetts Avenue

NW, Suite 250

Washington, DC 20001

ICC 300—2017:

ICC Standard on Bleachers, Folding and Telescopic Seating, and Grandstands

1030.1.1, 1030.7, 1607.18

ICC 300—23:

[DSA-SS, DSA-SS/CC, OSHPD 1, 1R, 2, 4 and 5] Standards Specification on Bleachers, Folding and Telescopic Seating, and Grandstands

1030.1.1, 1030.7, 1607.18, 1605A.3, 1605A.3.1, 1607A.18

ICC 400—2022:

Standard on Design and Construction of Log Structures

2302.1

ICC 600—2020:

Standard for Residential Construction in High-Wind Regions

1609.1.1, 1609.1.1.1, 2308.2.4

ICC 900/SRCC 300—2020:

Solar Thermal System Standard

3111.2.1

ICC 901/SRCC 100—2020:

Solar Thermal Collector Standard

3111.2.1

ICC-ES AC 01—24*:

Acceptance Criteria for Expansion Anchors in Masonry Elements

1617A.1.19

ICC-ES AC 58—24*:

Acceptance Criteria for Adhesive Anchors in Masonry Elements

1617A.1.19

ICC-ES AC 70—24*:

Acceptance Criteria for Fasteners Power-Driven into Concrete, Steel and Masonry Elements

1617A.1.20

ICC-ES AC 77:

Acceptance Criteria for Smoke Containment Systems Used with Fire-resistance-rated Elevator Hoistway Doors and Frames

3006.3

ICC-ES AC 106—24*:

Acceptance Criteria for Predrilled Fasteners (Screw Anchors) in Masonry

1617A.1.19

ICC-ES AC 125—24*:

Acceptance Criteria for Concrete and Reinforced and Unreinforced Masonry Strengthening Using Externally Bonded Fiber-Reinforced Polymer (FRP) Composite Systems

1911A.3, 1911.3

ICC-ES AC 156—24*:

Acceptance Criteria for Seismic Certification by Shake-Table Testing of Nonstructural Components

1705A.14.3

ICC-ES AC 178—24*::

Acceptance Criteria for Inspection and Verification of Concrete, and Reinforced and Unreinforced Masonry Strengthening Using Fiber-Reinforced Polymer (FRP) Composite Systems

1911A.3, 1911.3

ICC-ES AC 193—24*:

Acceptance Criteria for Mechanical Anchors in Concrete Elements

1617A.1.19, 1901.3.2

ICC-ES AC 232—24*:

Acceptance Criteria for Anchor Channels in Concrete Elements

1617A.1.19, 1901.3.2

ICC-ES AC 308—24*:

Acceptance Criteria for Post-Installed Adhesive Anchors in Concrete Elements

1617A.1.19, 1901.3.3

ICC-ES AC 331:

Acceptance Criteria for Smoke and Heat Vents

910.3.1

ICC-ES AC 358—24*:

Acceptance Criteria for Helical Foundation Systems and Devices

1810A.3.1.5.1, 1810.3.1.5.1

ICC-ES AC 446—24*:

Acceptance Criteria for Headed Cast-in Specialty Inserts in Concrete

1617A.1.19, 1901.3.2

ICC 1100—2019:

Standard for Spray-applied Foam Plastic Insulation

2603.1.1

ICC/MBI 1200—2021:

[OSHPD 1, 1R, 2, 4, and 5] Standard for Off-Site Construction: Planning, Design, Fabrication and Assembly

1710, 1710A

ICC/MBI 1205—2021:

[OSHPD 1, 1R, 2, 4, and 5] Standard for Off-Site Construction: Inspection and Regulatory Compliance

1710, 1710A

SSTD 11—97:

1997 SBCCI Test Standard for Determining Wind Resistance of Concrete or Clay Roof Tiles

1504.3.1.1, 1504.3.1.2, 1504.3.1.3

* Refers to International Building Code, 2024 as a referenced standard.

ISO

International Organization for Standardization,
Chemin de Blandonnet 8

CP 401 1214 Vernier,

Geneva, Switzerland

ISO 668—2013:

Series 1 Freight Containers—Classifications, Dimensions and Ratings

Table 3114.8.5.3

ISO 1496-1—2013:

Series 1 Freight Containers—Specification and Testing - Part 1: General Cargo Containers for General Purposes

3114.8, Table 3114.8.5.3

ISO 6346—1995:

Freight Containers—Coding, Identification and Marking with Amendment 3—2012

3114.3

ISO 8115—86:

Cotton Bales—Dimensions and Density

Table 307.1(1), Table 415.11.1.1

ISO 8336—09:

Fiber-cement Flat Sheets—Product Specification and Test Methods

1403.9, 1404.17.1, 1404.17.2, Table 2509.2

ISO 9001—15:

Quality Management Systems - Requirements

1705A.14.3

MHI

Material Handling Institute,

8720 Red Oak Blvd. Suite 201,

Charlotte, NC 28217

ANSI MH16.1—2021:

Specification for the Design, Testing and Utilization of Industrial Steel Storage Racks

Table 1705.13.7, 2209.1

ANSI MH28.2—2022:

Design, Testing and Utilization of Industrial Boltless Steel Shelving

2211.1

ANSI MH28.3—2022:

Design, Testing and Utilization of Industrial Steel Work Platforms

2212.1

ANSI MH29.1—2020:

Safety Requirements—Industrial Scissor Lift

Table 3001.3

ANSI MH32.1—2018:

Stairs, Ladders, and Open-Edge Guards for Use with Material Handling Structures

2213.1

NAAMM

National Association of Architectural Metal Manufacturers,

800 Roosevelt Road, Bldg. C, Suite 312,

Glen Ellyn, IL 60137

FP 1001—18:

Guide Specifications for Design of Metal Flag Poles

1609.1.1

NCMA

National Concrete Masonry Association,

13750 Sunrise Valley,

Herndon, VA 20171

TEK 5—8B(2005):

Detailing Concrete Masonry Fire Walls

Table 721.1(2)

NFPA

National Fire Protection Association,

1 Batterymarch Park,

Quincy, MA 02169-7471

04—24:

Standard for Integrated Fire Protection and Life Safety System Testing

901.6.2.1, 901.6.2.2

10—22:

Standard for Portable Fire Extinguishers

906.2, Table 906.3(1), Table 906.3(2), 906.3.2, 906.3.4

11—24:

Standard for Low-, Medium-, and High-Expansion Foam

904.7, 904.14, 3109F

12—22:

Standard on Carbon Dioxide Extinguishing Systems

904.8, 904.14

12A—22:

Standard on Halon 1301 Fire Extinguishing Systems

904.9

13—25:

Standard for the Installation of Sprinkler Systems as amended*

403.3.3, 712.1.3.1, 903.3.1.1, 903.3.2, 903.3.8.2, 903.3.8.5, 904.14, 905.3.4, 907.6.4, 1019.3

*NFPA 13, Amended Sections as follows:

Revise Section 2.2 and add publications as follows:

2.2 NFPA Publications.

NFPA 25, Standard for the Inspection, Testing, and Maintenance of Water-Based Fire Protection Systems, 2013 California edition.

Revise Section 6.4.3.1.1* as follows:

6.4.3.1.1* Pipe joints shall not be located under foundation footings. The pipe under the building or building foundation shall not contain mechanical joints.

Exceptions:

- 2.  Where allowed in accordance with Section 6.4.3.1.

- 3.  Alternate designs may be utilized where designed by a registered professional engineer and approved by the enforcing agency.

Revise Section 9.2.1.16 as follows:

9.2.1.16 Exterior columns under 10 ft2 (0.93m2) in total area, formed by studs or wood joist, with no sources of ignition within the column, supporting exterior canopies that are fully protected with a sprinkler system, shall not require sprinkler protection.

Revise Section 9.2.3.1* as follows:

9.2.3.1* Sprinklers shall be permitted to be omitted where the exterior canopies, roofs, portecocheres, balconies, decks or similar projections are constructed with materials that are noncombustible, limited-combustible or fire retardant treated wood as defined in NFPA 703, Standard for Fire Retardant—Treated Wood and Fire-Retardant Coatings for Building Materials.

Delete Section A.9.2.3.1 of Annex

Revise Section 9.2.3.2

9.2.3.2 Sprinklers shall be permitted to be omitted from below the canopies, roofs, balconies, decks or similar projections are combustible construction, provided the exposed finish material on the roof, or canopy is noncombustible, limited-combustible or fire retardant treated wood as defined in NFPA 703, Standard for Fire Retardant—Treated Wood and Fire-Retardant Coatings for Building Materials, and the roofs or canopies contains only sprinklered concealed spaces or any of the following unsprinklered combustible concealed spaces:

- (1) Combustible concealed spaces filled entirely with noncombustible insulation.

- (2) Light or ordinary hazard occupancies where noncombustible or limited-combustible ceilings are directly attached to the bottom of solid wood joists so as to create enclosed joist spaces 160 ft3 (4.5 m3) or less in volume, including space below insulation that is laid directly on top or within the ceiling joists in an otherwise sprinklered attic [See 11.2.3.1.5.2(9)].

- (3) Concealed spaces over isolated small roofs or canopies not exceeding 55 ft2 (5.1 m2).

Delete language to section 9.2.3.3 and reserve section number.

9.2.3.3 Reserved.

Revise Section 9.3.19.1* as follows:

9.3.19.1* Unless the requirements of 9.2.3.1 or 9.2.3.2 are met, sprinklers shall be installed under exterior roofs, canopies, porte-cochere, balconies, decks or similar projections exceeding 4 ft (1.2 m) in width.

Revise Annex Section A9.3.19.2 as follows:

A9.3.19.2 The presence of planters, newspaper machines and similar items, should not be considered storage.

Add Section 9.3.19.3 as follows:

9.3.19.3 Sprinklers may be omitted for following structures:

- (1) Solar photovoltaic panel structures with no use underneath. Signs may be provided, as determined by the enforcing agency prohibiting any use underneath including storage.

- (2) Solar photovoltaic (PV) panels supported by framing that have sufficient uniformly distributed and unobstructed openings throughout the top of the array (horizontal plane) to allow heat and gases to escape, as determined by the enforcing agency.

Add new Sections 16.9.3.1.3.4 and 16.9.3.1.3.5 as follows:

16.9.3.1.3.4 Where a system includes floor control valves, a hydraulic design information sign containing information for the floor shall be provided at each floor control valve. A hydraulic design information sign shall be provided for each area calculated. The installing contractor shall identify a hydraulically designed sprinkler system with a permanently marked weatherproof metal or rigid plastic sign secured with corrosion resistant wire, chain or other approved means. Such signs shall be placed at the alarm valve, dry pipe valve, preaction valve or deluge valve supplying the corresponding hydraulically designed area.

16.9.3.1.3.5 Control valves, check valves, drain valves, antifreeze valves shall be readily accessible for inspection, testing and maintenance. Valves located more than 7 feet above the finished floor shall be provided with a means of opening and closing the valve from the floor level.

Add new Sections 16.9.10.5, 16.9.10.5.1, 16.9.10.5.1.1, 16.9.10.5.1.2, 16.9.10.5.1.3, 16.9.10.5.1.4, 16.9.10.5.2 as follows:

16.9.10.5 Sectional Valves.

16.9.10.5.1 Private fire service main systems shall have sectional control valves at appropriate points in order to permit sectionalizing the system in the event of a break or for the making of repairs or extensions.

16.9.10.5.1.1 Sectional control valves are not required when the fire service main system serves less than six fire appurtenances.

16.9.10.5.1.2 Sectional control valves shall be indicating valves in accordance with Section 16.9.3.2.

16.9.10.5.1.3 Sectional control valves shall be located so that no more than five fire appurtenances are affected by shut-down of any single portion of the fire service main. Each fire hydrant, fire sprinkler system riser, and standpipe riser shall be considered a separate fire appurtenance. In-rack sprinkler systems shall not be considered as a separate appurtenance.

16.9.10.5.1.4 The number of fire appurtenances between sectional control valves is allowed to be modified by the authority having jurisdiction.

16.9.10.5.2 A valve shall be provided on each bank where a main crosses a body of water or outside the building foundation(s) where the main or section of main runs under a building.

Add new Section 17.2.2.9.1 as follows:

17.2.2.9.1 Powder-driven studs used for attaching hangers to the building structure are prohibited in Seismic design Categories C, D, E and F.

Revise Section 18.5.11.4 as follows:

18.5.11.4 Where threaded pipe is used for sway bracing, it shall have a wall thickness of not less than Schedule 40.

Replace Section 18.5.12.5 as follows:

18.5.12.5 Lag screws or power-driven fasteners shall not be used to attach braces to the building structure.

Replace Section 18.5.12.6.1 as follows:

18.5.12.6.1 Fastening methods other than those identified in 9.3.5.12 shall not apply to other fastening methods, which shall be acceptable for use if certified by a registered professional engineer to support the loads determined in accordance with the criteria in 18.5.9. Calculations shall be submitted to the authority having jurisdiction.

Revise Section 18.5.12.7.4 as follows:

18.5.12.7.4 Concrete anchors when identified in 18.5.11.11 shall be acceptable for use where designed in accordance with the requirements of the building code and certified by a registered professional engineer.

Revise Section 18.6.1(3) as follows:

18.6.1*(3) No. 12, 440 lb (200 Kg) wire installed at least 45 degrees from the vertical plane and anchored on both sides of the pipe. Powder-driven fasteners for attaching restraint is allowed to be used provided that the restraint component does not support the dead load.

Revise Section 19.2.3.1.5.2(9) as follows:

19.2.3.1.5.2(9) Exterior columns under 10 ft2 (0.93m2) in total area, formed by studs or wood joist, with no sources of ignition within the column, supporting exterior canopies that are fully protected with a sprinkler system.

Revise Section 19.2.3.2.3.1 as follows:

19.2.3.2.3.1 Where listed quick-response sprinklers, excluding extended coverage quick-response sprinklers, are used throughout a system or portion of a system having the same hydraulic design basis, the system area of operation shall be permitted to be reduced without revising the density as indicated in Figure 19.2.3.2.3.1 when all of the following conditions are satisfied:

- Wet pipe system

- Light hazard occupancy

- 20 ft (6.1 m) maximum ceiling height

- There are no unprotected ceiling pockets as allowed by 10.2.9 and 11.2.7 exceeding 32 ft2 (3 m2)

FIGURE 19.2.3.2.3.1—DESIGN AREA REDUCTION FOR QUICK-RESPONSE SPRINKLERS

Revise Section 19.2.3.2.3.2 as follows:

19.2.3.2.3.2 The number of sprinklers in the design area shall never be less than seven.

Revise Section 20.9.5.2 as follows:

20.9.5.2 Early suppression fast-response (ESFR) sprinklers shall not be used in buildings with automatic heat or smoke vents unless the vents use a standard-response operating mechanism with a minimum temperature rating of 360°F (182°C) or 100°F (56°C) above the operating temperature of the sprinklers, whichever is higher.

23.8.1.2 Positive Alarm Sequence

23.8.1.2.1 Systems that have positive alarm features complying with 23.8.1.2 shall be permitted if approved by the authority having jurisdiction. Operation of a patient room smoke detector in Group I-2 and R-2.1 occupancies shall not include a positive alarm sequence feature.

Add Section 28.1.3(18)(e) as follows:

28.1.3(18)(e) Where a waterflow test is used for the purposes of system design, the test shall be conducted no more than 6 months prior to working plan submittal unless otherwise approved by the authority having jurisdiction.

Revise Section 29.1 as follows:

29.1 Approval of Sprinkler Systems and Private Fire Service Mains. The installing contractor shall do the following:

- (1) Notify the authority having jurisdiction and the property owner or property owner's authorized representative of the time and date testing will be performed.

- (2) Perform all required testing (see Section 29.2).

- (3) Complete and sign the appropriate contractor's material and test certificate(s) (see Figure A.29.1).

- (4) Remove all caps and straps prior to placing the sprinkler system in service.

- (5) Upon system acceptance by the authority having jurisdiction a label prescribed by Title 19 California Code of Regulations, Chapter 5 shall be affixed to each system riser.

Revise Section 29.3 as follows:

29.3 Instructions. The installing contractor shall provide the property owner or the property owner's authorized representative with the following:

- (1) All literature and instructions provided by the manufacturer describing proper operation and maintenance of any equipment and devices installed.

- (2) NFPA 25, Standard for the Inspection, testing, and maintenance of Water-Based Fire Protection Systems, 2013 California Edition.

- (3) Title 19, California Code of Regulations, Chapter 5, "Fire Extinguishing Systems."

Revise Section 29.4.1 as follows:

29.4.1 The installing contractor shall identify a hydraulically designed sprinkler system with a permanently marked weatherproof metal or rigid plastic sign secured with corrosion resistant wire, chain or other approved means. Such signs shall be placed at the alarm valve, dry pipe valve, preaction valve or deluge valve supplying the corresponding hydraulically designed area. Pipe schedule systems shall be provided with a sign indicating that the system was designed and installed as a pipe schedule system and the hazard classification(s) included in the design.

Revise Section 29.4.3 as follows:

29.4.3 The sign shall include the following information:

(1) Location of the design area or areas

(2) Discharge densities over the design area or areas

(3) Required flow and pressure of the system at the base of the riser.

(4) Occupancy classification or commodity classification and maximum permitted storage height and configuration

(5) Hose stream allowance included in addition to the sprinkler demand

(6) The name of the installing contractor

(7) Required flow and pressure of the system at the water supply source.

(8) Required flow and pressure of the system at the discharge side of the fire pump where a fire pump is installed.

(9) Type or types and number of sprinklers or nozzles installed including the orifice size, temperature rating, orientation, K-Factor, sprinkler identification number (SIN) for sprinkler heads when applicable, and response type.

(10) The minimum discharge flow rate and pressure required from the hydraulically most demanding sprinkler.

(11) The required pressure settings for pressure reducing valves.

(12) For deluge sprinkler systems, the required flow and pressure at the hydraulically most demanding sprinkler or nozzle.

(13) The protection area per sprinkler based on the hydraulic calculations.

(14) The edition of NFPA 13 to which the system was designed and installed.

Revise Section 29.6.1 as follows:

29.6.1 The installing contractor shall provide a general information sign used to determine system design basis and information relevant to the inspection, testing and maintenance requirements required by NFPA 25, Standard for the Inspection, Testing and Maintenance of Water-Based Fire Protection Systems, 2013 California Edition.

13D—25:

Standard for the Installation of Sprinkler Systems in One- and Two-Family Dwellings and Manufactured Homes, as amended*

903.3.1.3

*NFPA 13D, Amended Sections as follows:

Revise Section 6.2.2 to read as follows:

6.2.2 Where a well, pump, tank or combination thereof is the source of supply for a fire sprinkler system, the configuration for the system shall be one of the following:

- The water supply shall serve both domestic and fire sprinkler systems.

  - (a) A test connection shall be provided downstream of the pump that creates a flow of water equal to the smallest sprinkler on the system. The connection shall return water to the tank.

  - (b) Any disconnecting means for the pump shall be approved.

  - (c) A method for refilling the tank shall be piped to the tank.

  - (d) A method of seeing the water level in the tank shall be provided without having to open the tank.

  - (e) The pump shall not be permitted to sit directly on the floor.

- A stand-alone tank is permitted if the following conditions are met:

  - (a) The pump shall be connected to a 220-volt circuit breaker shared with a common household appliance (e.g., range, oven, dryer),

  - (b) The pump shall be a stainless steel 240-volt pump,

  - (c) A valve shall be provided to exercise the pump. The discharge of the exercise valve shall drain to the tank, and

  - (d) A sign shall be provided stating: "Valve must be opened monthly for 5 minutes."

  - (e) A means for automatically refilling the tank level, so that the tank capacity will meet the required water supply duration in minutes, shall be provided.

  - (f) A test connection shall be provided downstream of the pump that creates a flow of water equal to the smallest sprinkler on the system. The connection shall return water to the tank.

  - (g) Any disconnecting means for the pump shall be approved.

  - (h) A method for refilling the tank shall be piped to the tank.

  - (i) A method of seeing the water level in the tank shall be provided without having to open the tank.

  - (j) The pump shall not be permitted to sit directly on the floor.

Add new Section 6.2.2.1 as follows:

6.2.2.1 Where a fire sprinkler system is supplied by a stored water source with an automatically operated means of pressurizing the system other than an electric pump, the water supply may serve the sprinkler system only.

Add new Section 6.2.4 as follows:

6.2.4 Where a water supply serves both domestic and fire sprinkler systems, 5 gpm (19 L/min) shall be added to the sprinkler system demand at the point where the systems are connected, to determine the size of common piping and the size of the total water supply requirements where no provision is made to prevent flow into the domestic water system upon operation of a sprinkler. For multipurpose piping systems, the 5 gpm (19 L/min) demand shall be added at the domestic connection nearest the design area. This demand may be split between two domestic connections at 2.5 gpm (10 L/min) each.

Revise Section 8.3.4 as follows:

8.3.4* Sprinklers shall not be required in detached garages, open attached porches, carports with no habitable space above, and similar structures.

Add new Sections 8.3.11 and 8.3.11.1 as follows:

8.3.11 Solar photovoltaic panel structures

8.3.11.1 Sprinklers shall be permitted to be omitted from the following structures:

- (1) Solar photovoltaic panel structures with no use underneath. Signs may be provided, as determined by the enforcing agency prohibiting any use underneath including storage.

- (2) Solar photovoltaic (PV) panels supported by framing that have sufficient uniformly distributed and unobstructed openings throughout the top of the array (horizontal plane) to allow heat and gases to escape, as determined by the enforcing agency.

13R—25:

Standard for the Installation of Sprinkler Systems in Low-Rise Residential Occupancies, as amended*

903.3.1.2, 903.3.5.2, 903.4.1

*NFPA 13R, Amended Sections as follows:

Revise Section 2.2 and add publications as follows:

2.2 NFPA Publications.

NFPA 25, Standard for the Inspection, Testing, and Maintenance of Water-Based Fire Protection Systems, 2013 California edition.

Add new Sections 6.6.10 and 6.10.1 as follows:

6.6.10 Solar photovoltaic panel structures

6.6.10.1 Sprinklers shall be permitted to be omitted from the following structures:

- (1) Solar photovoltaic panel structures with no use underneath. Signs may be provided, as determined by the enforcing agency prohibiting any use underneath including storage.

- (2) Solar photovoltaic (PV) panels supported by framing that have sufficient uniformly distributed and unobstructed openings throughout the top of the array (horizontal plane) to allow heat and gases to escape, as determined by the enforcing agency.

Revise Section 11.4 as follows:

11.4 Instructions.

The installing contractor shall provide the property owner or the property owner's authorized representative with the following:

- (1) All literature and instructions provided by the manufacturer describing proper operation and maintenance of any equipment and devices installed.

- (2) NFPA 25, Standard for the Inspection, Testing, and Maintenance of Water-Based Fire Protection Systems 2013 California Edition and Title 19, California Code of Regulations, Chapter 5.

- (3) Once the system is accepted by the authority having jurisdiction a label as prescribed by Title 19, California Code of Regulations, Chapter 5, shall be affixed to each system riser.

14—24:

Standard for the Installation of Standpipe and Hose Systems, as amended*

905.2, 905.3.4, 905.4.2, 905.6.2, 905.8

*NFPA 14, Amended Sections as follows:

Replace Section 6.3.7.1

6.3.7.1 System water supply valves, isolation control valves and other valves in fire mains shall be supervised in an approved manner in the open position by one of the following methods:

- Where a building has a fire alarm system or a sprinkler monitoring system installed, the valve shall be supervised by:

  - (a) a central station, proprietary or remote supervising station, or

  - (b) a local signaling service that initiates an audible signal at a constantly attended location.

- Where a building does not have a fire alarm system or a sprinkler monitoring system installed, the valve shall be supervised by:

  - (a) Locking the valves in the open position, or

  - (b) Sealing of valves and an approved weekly recorded inspection where valves are located within fenced enclosures under the control of the owner.

17—24:

Standard for Dry Chemical Extinguishing Systems

904.6, 904.14

17A—24:

Standard for Wet Chemical Extinguishing Systems

904.5, 904.14

20—25:

Standard for the Installation of Stationary Pumps for Fire Protection

412.2.4.1, 913.1, 913.2, 913.2.1, 913.5

24—25:

Standard for Installation of Private Fire Service Mains and Their Appurtenances, as amended*

3109F

*NFPA 24, Amended Sections as follows:

Amend Section 4.2.1 as follows:

Section 4.2.1. Installation work shall be done by fully experienced and responsible contractors. Contractors shall be appropriately licensed in the State of California to install private fire service mains and their appurtenances.

Revise Section 4.2.2 as follows:

4.2.2 Installation or modification of private fire service mains shall not begin until plans are approved and appropriate permits secured from the authority having jurisdiction.

Add Section 4.2.2.1 as follows:

4.2.2.1 As approved by the authority having jurisdiction, emergency repair of existing system may start immediately, with plans being submitted to the authority having jurisdiction within 96 hours from the start of the repair work.

Revise Section 5.9.5.1 as follows:

5.9.5.1 Fire department connections shall be on the street side of buildings and as approved by the authority having jurisdiction.

Add Sections 6.6.1.1, 6.6.1.2, 6.6.1.3 and 6.6.1.4 as follows:

6.6.1.1 Sectional control valves are not required when the fire service main system serves less than six fire appurtenances.

6.6.1.2 Sectional control valves shall be indicating valves in accordance with NFPA 13, Section 6.7.1.3.

6.6.1.3 Sectional control valves shall be located so that no more than five fire appurtenances are affected by shut-down of any single portion of the fire service main. Each fire hydrant, fire sprinkler system riser and standpipe riser shall be considered a separate fire appurtenance. In-rack sprinkler systems shall not be considered as a separate appurtenance.

6.6.1.4 The number of fire appurtenances between sectional control valves is allowed to be modified by the authority having jurisdiction.

Revise Section 10.4.3.1.1 as follows:

10.4.3.1.1 Pipe joints shall not be located under foundation footings. The pipe under the building or building foundation shall not contain mechanical joints.

Exceptions:

- Where allowed in accordance with 10.4.3.2.

- Alternate designs may be utilized where designed by a registered professional engineer and approved by the enforcing agency.

Revise Section 10.9.1 as follows:

10.9.1 Backfill shall be well tamped in layers or puddle under and around pipes to prevent settlement or lateral movement. Backfill shall consist of clean fill sand or pea gravel to a minimum 6" below and to a minimum of 12" above the pipe and shall contain no ashes, cinders, refuse, organic matter or other corrosive materials. Other backfill materials and methods are permitted where designed by a registered professional engineer and approved by the enforcing agency.

25—13CA:

California NFPA 25 Edition (Based on the 2011 Edition) Inspection, Testing and Maintenance of Water-based Fire Protection Systems

Chapter 31F, 3108F

30—24:

Flammable and Combustible Liquids Code, as amended*

415.6.1, 415.6.2, 507.8.1.1.1, 507.8.1.1.2

30A—24:

Code for Motor Fuel Dispensing Facilities and Repair Garages

406.2.9.2

31—24:

Standard for the Installation of Oil-Burning Equipment

2113.15

32—21:

Standard for Drycleaning Facilities, as amended*

415.9.3, 2101.1.1

*NFPA 32, Amended Sections as follows:

Delete the following publications from Section 2.2:

2.2 NFPA Publications.

NFPA 10, Standard for Portable Fire Extinguishers, 2010 edition.

NFPA 25, Standard for the Inspection, Testing, and Maintenance of Water-Based Fire Protection Systems,2011 edition.

NFPA 70, National Electrical Code®, 2011 edition.

NFPA 101®, Life Safety Code®, 2009 edition.

NFPA 5000®, Building Construction and Safety Code®, 2009 edition.

Revise Section 4.4.1.1 as follows:

4.4.1.1 General building and structure design and construction shall be in accordance with California Building Code.

Delete language to Sections 4.4.1.2 and 4.4.1.3 and reserve section numbers.

4.4.1.2 Reserved

4.4.1.3 Reserved

Revise Section 4.4.4 as follows:

4.4.4 Means of Egress. Means of egress shall conform with the provisions of the California Building Code.

Revise Section 4.6.2 as follows:

4.6.2 Automatic Sprinkler Systems. Where required by this standard, automatic sprinkler systems shall be installed in accordance with NFPA 13, Standard for the Installation of Sprinkler Systems, and periodically inspected, tested and maintained in accordance with California Code of Regulations, Title 19, Division 1, Chapter 5.

Revise Section 4.6.4 as follows:

4.6.4 Portable Fire Extinguishers. Suitable numbers and types of portable fire extinguishers shall be installed and maintained throughout the drycleaning plant in accordance with California Code of Regulations, Title 19, Division 1, Chapter 3.

Revise Section 7.3.2 as follows:

7.3.2 Electrical Installations. Electrical equipment and wiring in a Type II drycleaning room shall comply with the provisions of California Electrical Code, for use in Class I, Division 2 hazardous locations.

37—18:

Installation and Use of Stationary Combustion Engines and Gas Turbines

40—24:

Standard for the Storage and Handling of Cellulose Nitrate Film

409.1

45—24:

Standard on Fire Protection for Laboratories Using Chemicals

428.3.7

54—18:

National Fuel Gas Code

58—24:

Liquefied Petroleum Gas Code

415.9.2

61—20:

Standard for the Prevention of Fires and Dust Explosions in Agricultural and Food Processing Facilities

426.1

68—13:

Standard on Explosion Protection by Deflagration Venting

Table 414.5.1

70—23:

National Electrical Code

108.3, 406.2.7, 406.2.9, 412.5.7, 415.11.1.8, Table 509.1, 904.3.1, 907.6.1, 909.12.2, 909.16.3, 910.4.6, 1204.4.1, 2701.1, 2702.1.3, 3111.3

72—25:

National Fire Alarm and Signaling Code, as amended*

407.4.4.5.1, 407.4.4.6, 901.6, 903.4.1, 904.3.5, 907.1.2, 907.2, 907.2.6, 907.2.9.3, 907.2.11, 907.2.13.2, 907.3, 907.3.3, 907.3.4, 907.5.2.1.2, 907.5.2.2, 907.5.2.2.5, 907.6, 907.6.1, 907.6.2, 907.6.6, 907.7, 907.7.1, 907.7.2, 911.1.6, 915.3.2, 915.3.3, 915.3.4, 915.4.1, 915.5.2, 915.7, 917.1, 2702.2.4, 3005.5, 3007.7, 3108F

*NFPA 72, Amended Sections as follows:

Revise Section 10.3.1 as follows:

10.3.1 Equipment constructed and installed in conformity with this Code shall be listed for the purpose for which it is used. Fire alarm systems and components shall be California State Fire Marshal approved and listed in accordance with California Code of Regulations, Title 19, Division 1.

Revise Section 10.3.3 as follows:

10.3.3 All devices and appliances that receive their power from the initiating device circuit or signaling line circuit of a control unit shall be California State Fire Marshal listed for use with the control unit.

Revise Section 12.3.8.1 as follows:

12.3.8.1 The outgoing and return (redundant) circuit conductors shall be permitted in the same cable assembly (i.e., multiconductor cable), enclosure or raceway only under the following conditions:

- (1) For a distance not to exceed 10 ft (3.0 m) where the outgoing and return conductors enter or exit the initiating device, notification appliance or control unit enclosures.

- (2) Single drops installed in the raceway to individual devices or appliances.

- (3) *In a single room not exceeding 1000 ft2 (93 m2) in area, a drop installed in the raceway to multiple devices or appliances that does not include any emergency control function devices.

- (4) Where the vertically run conductors are contained in a 2-hour rated cable assembly, or enclosed (installed) in a 2-hour rated enclosure or a listed circuit integrity (C.I.) cable, which meets or exceeds a 2-hour fire-resistive rating.

Revise Section 14.4.6.1 as follows:

14.4.6.1 Testing. Household fire alarm systems shall be tested in accordance with the manufacturer's published instructions according to the methods of Table 14.4.3.2.

Revise Section 17.16 as follows:

17.16 Fire Extinguisher Electronic Monitoring Device. A fire extinguisher electronic monitoring device shall indicate those conditions for a specific fire extinguisher required by California Code of Regulations, Title 19, Division 1, Chapter 1, Section 574.2 (c) and California Fire Code to a fire alarm control unit.

Delete the amendments to Section 21.3.6 and adopt the model text.

Revise Section 12.3.8 as follows:

12.3.8 (5) Where the vertically run conductors are contained in a 2-hour rated cable assembly, or enclosed (installed) in a 2-hour rated enclosure or a listed circuit integrity (C.I.) cable, which meets or exceeds a 2-hour fire resistive rating.

23.8.1.2 Positive Alarm Sequence

23.8.1.2.1 Systems that have positive alarm features complying with 23.8.1.2 shall be permitted if approved by the authority having jurisdiction. Operation of a patient room smoke detector in Group I-2 and R-2.1 occupancies shall not include a positive alarm sequence feature.

Revise Section 23.8.5.1.2 as follows:

23.8.5.1.2* Where connected to a supervising station, fire alarm systems employing automatic fire detectors or waterflow detection devices shall include a manual fire alarm box to initiate a signal to the supervising station.

Exception: Fire alarm systems dedicated to elevator recall control, supervisory service and fire sprinkler monitoring as permitted in Section 17.15 of NFPA 72.

Revise Section 23.8.5.4.1 as follows:

23.8.5.4.1 Systems equipped with alarm verification features shall be permitted under the following conditions:

- (1) The alarm verification feature is not initially enabled unless conditions or occupant activities that are expected to cause nuisance alarms are anticipated in the area that is protected by the smoke detectors. Enabling of the alarm verification feature shall be protected by password or limited access.

- (2) A smoke detector that is continuously subjected to a smoke concentration above alarm threshold does not delay the system functions of Sections 10.7 through 10.16, 23.8.1.1 or 21.2.1 by more than 30 seconds.

- (3) Actuation of an alarm-initiating device other than a smoke detector causes the system functions of Sections 10.7 through 10.16, 23.8.1.1 or 21.2.1 without additional delay.

- (4) The current status of the alarm verification feature is shown on the record of completion (see Figure 7.8.2(a), Item 4.3).

- (5) Operation of a patient room smoke detector in I-2 and R-2.1 occupancies shall not include an alarm verification feature.

Revise Section 29.3.1 as follows:

29.3.1 All devices, combinations of devices and equipment to be installed in conformity with this chapter shall be approved and listed by the California State Fire Marshal for the purposes for which they are intended.

Revise Section 29.8.2.1.1 as follows:

29.8.2.1.1* Smoke and Heat Alarms. Where connected to a supervising station unless exempted by applicable laws, codes or standards, smoke or heat alarms used to provide a fire-warning function, and when two or more alarms are installed within a dwelling unit, suite of rooms or similar area, shall be arranged so that the operation of any smoke or heat alarm causes all alarms within these locations to sound.

Note: Exception to 29.8.2.1.1 not adopted by the SFM.

Add Section 29.10.2.1 as follows:

29.10.2.1 The alarm verification feature shall not be used for household fire warning equipment.

Add Section 29.10.6.8.1 as follows:

29.10.6.8.1 The alarm verification feature shall not be used for household fire warning equipment.

80—22:

Standard for Fire Doors and Other Opening Protectives

410.2.5, 509.4.2, 716.1, 716.2.5.1, 716.2.6.4, 716.2.9, 716.3.4.1, 716.3.5, 716.4.3, 909.18.3, 1010.3.3

82—24

Standard on Incinerators and Waste and Linen Handling Systems and Equipment

713.13

85—23:

Boiler and Combustion Systems Hazards Code

426.1

92—24:

Standard for Smoke Control Systems

909.7, 909.8

99—24:

Health Care Facilities Code

407.11, 422.6, 425.1

101—24:

Life Safety Code

1030.6.2

105—25:

Standard for Smoke Door Assemblies and Other Opening Protectives

909.20.4.1, 405.4.2, 710.5.2.2, 716.2.10, 909.18.3

110—25:

Standard for Emergency and Standby Power Systems

2702.1.3, 3111F

111—25:

Standard on Stored Electrical Energy Emergency and Standby Power Systems

2702.1.3, 3111F

120—23:

Standard for Fire Prevention and Control in Coal Mines

426.1

130—20:

Standard for Fixed Guideway Transit and Passenger Rail Systems

443

*NFPA 130, Amended Sections as follows:

Amend Section 2.2 and amend publications to read as follows:

2.2 NFPA Publications.

NFPA 25, Standard for the Inspection, Testing, and Maintenance of Water-Based Fire Protection Systems, 2013 California edition. Amend Section 3.3.44.2 and amend publications to read as follows:

3.3.44.2* Open Station. A station that is constructed such that it is directly open to the atmosphere and smoke and heat are allowed to disperse directly into the atmosphere.

The following enclosed areas in open stations are permitted:

- Ticket/pass booths not exceeding 150 square feet (13.9 m2) in area.

- Mechanical and electrical spaces typically not used for human occupancy and necessary for the operation of a fixed guideway transit system. Such spaces shall be limited to two per level.

- Restrooms not exceeding 150 square feet (13.9 m2) in area. A maximum of four restrooms are permitted per level.

Add a new definition as 3.3.44.3 to read as follows:

3.3.44.1.1 Underground Station. A station or portion thereof that is located beneath the surface of the earth or of the water.

Amend Section 5.2.2.1 to read as follows:

5.2.2.1 Building construction for all new enclosed stations shall be not less than Type IA, Type IB or Type IIA construction and shall not exceed in area or height the limits specified in the California Building Code Table 503, for the station configuration or as determined by fire hazard analysis of potential fire exposure hazards to the structure.

Add Section 5.2.2.1.1 —5.2.2.1.3 to read as follows:

5.2.2.1.1 Underground stations shall be a minimum Type IA or Type IB constructions.

5.2.2.1.2 Open stations may be of Type IIB construction and shall not exceed in area or height as required by Table 503 for Type IIA.

5.2.2.1.3 Open at grade stations may be of any construction type allowed by the California Building Code.

Delete Section 5.2.2.2.

Amend Section 5.2.4.3 to read as follows:

5.2.4.3 Ancillary Spaces. Fire resistance ratings of separations between ancillary occupancies shall be established as required by the California Building Code.

Amend Section 5.2.4.3.1 to read as follows:

5.2.4.3.1 The following areas shall be separated by a two-hour fire barrier:

- Electrical control rooms, auxiliary electrical rooms and associated battery rooms

- Trash rooms

- Train control rooms and associated battery rooms

- Fan rooms

- Emergency generator rooms

Amend Section 5.2.4.5 to read as follows:

5.2.4.5* Separation Between System and Nonsystem Occupancies. All station public areas shall be fire separated from adjacent non-system occupancies by a one hour fire barrier, unless otherwise required by other provisions of the California Building Code.

Amend Section 5.3.1.1 to read as follows:

5.3.1.1 The provisions for means of egress for a station shall comply with Chapter 10 of the California Building Code, except as herein modified.

Amend Section 5.3.2.1 to read as follows:

5.3.2.1* The occupant load for a station shall be based on the train load of trains simultaneously entering the station on all tracks in normal traffic direction plus the simultaneous entraining load awaiting trains.

- (1) The train load shall consider only one train at any one track.

- (2) The basis for calculating train and entraining loads shall be the peak period ridership figures as projected for design of a new system or as updated for an operating system.

- (3) Exiting shall be provided for occupant loads recalculated upon increase in service and/ or every five years.

Amend Section 5.3.3.5 to read as follows:

5.3.3.5 Travel Distance. The maximum travel distance on the platform to a point at which a means of egress route leaves the platform shall not exceed 91 440 mm (300 feet).

Amend Section 5.3.3.7 to read as follows:

5.3.3.7 Alternate Egress. At least two means of egress remote from each other shall be provided from each station platform as follows:

- (1)*A means of egress used as a public circulation route shall be permitted to provide more than 50 percent of the required egress capacity from a station platform or other location.

- (2) Means of egress from separate platforms shall be permitted to converge.

- (3) Where means of egress routes from separate platforms converge, the subsequent capacity of the egress route shall be sufficient to maintain the required evacuation time from the incident platform.

- (4) Enclosed station platforms shall have a minimum of one exit within 2.5 times the least width of the enclosed station platform up to a maximum of 50 feet (insert mm) from each end.

- (5) Routes from platform ends into the underground guideway shall not be considered as exits for calculating exiting requirements.

Amend Section 5.3.11.1 to read as follows:

5.3.11.1 Illumination of the means of egress in stations, including escalators that are considered a means of egress, shall be in accordance with Chapter 10 of the California Building Code.

Amend Section 5.3.11.2 to read as follows:

5.3.11.2 Means of egress, including escalators considered as means of egress, shall be provided with a system of emergency lighting in accordance with Chapter 10 of the California Building Code.

Amend Section 5.4.1.1 to read as follows:

5.4.1.1 Enclosed stations shall be provided with a fire command center in accordance with Section 911.1.1 through 911.5 of the California Building Code.

Amend Section 5.4.4.1 to read as follows:

5.4.4.1* An automatic sprinkler protection system shall be provided where required by Section 903 of the California Building Code.

Delete Section 5.4.4.2.

Amend Section 5.4.5.1 to read as follows:

5.4.5.1* Class I standpipes shall be installed where required by Chapter 9 of the California Building Code in accordance with NFPA 14 except as modified herein.

Amend Section 7.3.2.1 to read as follows:

7.3.2.1 The fan inlet airflow hot temperature shall be determined by an engineering analysis, however, this temperature shall not be less than 482°C (250°F). Ventilation fans and related components shall be capable of withstanding the maximum anticipated plus/minus pressure transients induced by train operations.

Add Section 7.6.1.1 to read as follows:

7.6.1.1 Ventilation of stations shall not terminate at grade on any vehicle roadway.

Amend Section 7.7.1 to read as follows:

7.7.1 Operation of the emergency ventilation system components shall be capable of automatic and manual initiation in accordance with 909.12.3 of the California Building Code.

Amend Section 7.8.1 to read as follows:

7.8.1 The design of the power for the emergency ventilation system shall comply with the requirements of Article 700 of the California Electrical Code and Section 909 of the California Building Code.

170—24:

Standard for Fire Safety and Emergency Symbols

1025.2.6.1

211—24:

Standard for Chimneys, Fireplaces, Vents, and Solid Fuel-Burning Appliances

2112.5

221—24:

Standard for High Challenge Fire Walls, Fire Walls and Fire Barrier Walls

706.2, Table 716.1(2)

252—22:

Standard Methods of Fire Tests of Door Assemblies

Table 716.1(1), 716.1.1, 716.1.2.2.1, 716.2.1.1, 716.2.1.2, 716.2.2.1, 716.2.2.2, 716.2.2.3.1, 716.2.5.1.1

253—23:

Standard Method of Test for Critical Radiant Flux of Floor Covering Systems Using a Radiant Heat Energy Source

406.2.4, 424.2, 804.2, 804.3

257—22:

Standard on Fire Test for Window and Glass Block Assemblies

Table 716.1(1), 716.1.1, 716.1.2.2.2, 716.3.1.1, 716.3.1.2, 716.3.2.1.3, 716.3.4

259—23:

Standard Test Method for Potential Heat of Building Materials

2603.4.1.10, 2603.5.3

265—23:

Standard Methods of Fire Tests for Evaluating Room Fire Growth Contribution of Textile or Expanded Vinyl Wall Coverings on Full Height Panels and Walls

803.5.1, 803.5.1.1

268—22:

Standard Test Method for Determining Ignitability of Exterior Wall Assemblies Using a Radiant Heat Energy Source

1405.1.1.1, 1405.1.1.1.1, 1405.1.1.1.2, 2603.5.7

275—22:

Standard Method of Fire Tests for the Evaluation of Thermal Barriers

508.4.4.1, 509.4.1.1, 1406.10.2, 1408.10.2, 2603.4

276—23:

Standard Method of Fire Test for Determining the Heat Release Rate of Roofing Assemblies with Combustible Above-Deck Roofing Components

1508.1, 2603.3, 2603.4.1.5

285—23:

Standard Fire Test Method for Evaluation of Fire Propagation Characteristics of Exterior Wall Assemblies Containing Combustible Components

718.2.6, 1402.6, 1406.10.3, 1408.10.4, 1511.6.2, 2603.5.5

286—24:

Standard Methods of Fire Tests for Evaluating Contribution of Wall and Ceiling Interior Finish to Room Fire Growth

402.6.4.4, 424.2, 803.1.1, 803.1.1.1, 803.11, 803.12, 803.13, 1406.10.2, 1408.10.3, 2603.7, 2603.9, 2604.2.4, 2614.4, 3105.3

288—22:

Standard Methods of Fire Tests of Horizontal Fire Door Assemblies Installed in Horizontal Fire Resistance-Rated Assemblies

712.1.13.1

289—23:

Standard Method of Fire Test for Individual Fuel Packages

402.6.2, 402.6.4.5, 424.2, 806.4

409—22:

Standard on Aircraft Hangars

412.3.6, Table 412.3.6, 412.3.6.1, 412.5.5

418—24:

Standard for Heliports

412.7.4

484—22:

Standard for Combustible Metals

426.1

502—20:

Standard for Road Tunnels, Bridges, and Other Limited Access Highways

429

652—19:

Standard on the Fundamentals of Combustible Dust

426.1

654—20:

Standard for the Prevention of Fire and Dust Explosions from the Manufacturing, Processing, and Handling of Combustible Particulate Solids

426.1

655—19:

Standard for the Prevention of Sulfur Fires and Explosions

426.1

664—20:

Standard for the Prevention of Fires and Explosions in Wood Processing and Woodworking Facilities

426.1

701—23:

Standard Methods of Fire Tests for Flame Propagation of Textiles and Films

410.2.6, 424.2, 806.4, 3102.3, 3102.3.1, 3102.6.1.1, 3105.3

704—22:

Standard System for the Identification of the Hazards of Materials for Emergency Response

202, 415.5.2

750—23:

Standard on Water Mist Fire Protection Systems

202, 904.11.1.1, 904.14

770—21:

Standard on Hybrid (Water and Inert Gas) Fire-Extinguishing Systems

904.13

780—23:

Standard for the Installation of Lightning Protection Systems

2703.2, 2703.2.1, 2703.3

1124—22:

Code for the Manufacture, Transportation, and Storage and Retail Sales of Fireworks and Pyrotechnic Articles

415.6.4.1

2001—22:

Standard on Clean Agent Fire Extinguishing Systems, as amended*

904.10

*NFPA 2001, Amended Sections as follows:

Add Sections 4.3.5.1.1 and 4.3.5.2.1 to read as follows:

4.3.5.1.1 Alarms signals from the fire extinguishing system shall not interfere with the building fire alarm signal.

4.3.5.2.1 The lens on visual appliances shall be "red" in color.

Exception: Other lens colors are permitted where approved by the enforcing agency.

2010—20:

Standard for Fixed Aerosol Fire-Extinguishing Systems

904.13

PCI

Precast Prestressed Concrete Institute,

8770 West Bryn Mawr, Suite 1150,

Chicago, IL 60631-3517

MNL-120—17:

PCI Design Handbook, 8th Edition

1909A.1.1, 1909A.1.2

PCI 124—18:

Specification for Fire Resistance of Precast/Prestressed Concrete

722.1, 722.2.3.1

PCI 128—19:

Specification for Glass-Fiber-Reinforced Concrete Panels

1903.2

PTI

Post-Tensioning Institute,

38800 Country Club Drive,

Farmington Hills, MI 48331

PTI DC10.5—19:

Standard Requirements for Design and Analysis of Shallow Post-Tensioned Concrete Foundations on Expansive and Stable Soils

1808.6.2

PTI DC35.1—14:

Recommendations for Prestressed Rock and Soil Anchors

1810A.3.10.4, 1811A.2, 1812A.4, 1812A.5, 1810.3.10.4.1, 1811.2, 1812.4, 1812.5,1813.2

RMI

Rack Manufacturers Institute,

8720 Red Oak Boulevard, Suite 201,

Charlotte, NC 28217

ANSI MH16.1—2021:

Design, Testing and Utilization of Industrial Storage Racks

ANSI MH16.3—2021:

Specification for the Design, Testing and Utilization of Industrial Steel Cantilevered Storage Racks

2209.2

SBCA

Structural Building Components Association,

6300 Enterprise Lane,

Madison, WI 53719

ANSI/SBCA FS 100—2012(R2018):

Standard Requirements for Wind Pressure Resistance of Foam Plastic Insulating Sheathing Used in Exterior Wall Covering Assemblies

2603.10

SDI

Steel Deck Institute,

2661 Clearview Road #3,

Allison Park, PA 15101

ANSI/SDI QA/QC—2022:

Standard for Quality Control and Quality Assurance for Installation of Steel Deck

1705.2.3

ANSI/SDI SD—2022:

Standard for Steel Deck

2208.1

SFM

State of California,
Department of Forestry and Fire Protection,
Office of the State Fire Marshal,

P.O. Box 944246,

Sacramento, CA 94246-2460

12-3:

Releasing Systems for Security Bars in Dwellings

1029.4

12-7-3:

Fire-testing Furnaces

NA

12-7A-1:

Exterior Wall Siding and Sheathing

703A.7, 707A.2

12-7A-2:

Exterior Window

703A.7, 708A.2.1

12-7A-3:

Under Eave

703A.7, 707A.8

12-7A-4:

Decking:

703A.7, 709A.3

12-7A-4A:

Decking Alternate Method A

703A.7, 709A.3

12-7A-5:

Ignition Resistant Building Material

703A.7, 709A.3

12-8-100:

Room Fire Tests for Wall and Ceiling Materials

NA

12-10-1:

Power Operated Exit Doors

NA

12-10-2:

Single Point Latching or Locking Devices

NA

12-10-3:

Emergency Exit and Panic Hardware

NA

(The Office of the State Fire Marshal standards referred to above are found in the California Code of Regulations, Title 24, Part 12.):

SJI

Steel Joist Institute,

140 Evans Street, Suite 203,

Florence, SC 29501

SJI 100—2020:

Standard Specification for K-Series, LH-Series, and DLH-Series Open Web Steel Joists and for Joist Girders

1604.3.3, 2207.1, 2207.2, 2207.3, 2207.4, 2207.5

SJI 200—2015:

Standard Specification for CJ-Series Composite Steel Joists

1604.3.3, 2207.1, 2207.2, 2207.3, 2207.4, 2207.5

SPRI

Single-Ply Roofing Industry,

465 Waverly Oaks Road, Suite 421,

Waltham, MA 02452

ANSI/SPRI GT-1—2022:

Test Standard for External Gutter Systems

1504.6.1, 1511.7.6.1

ANSI/SPRI RP-4—2019:

Wind Design Standard for Ballasted Single-ply Roofing Systems

1504.5

ANSI/SPRI VF-1—2021:

External Fire Design Standard for Vegetative Roofs

1505.10

ANSI/SPRI/FM 4435/ES-1—2017:

Test Standard for Edge Systems Used with Low Slope Roofing Systems

1504.6, 1511.7.6.1

SRCC

Solar Rating & Certification Corporation,

400 High Point Drive, Suite 400,

Cocoa, FL 32926

ICC 900/SRCC 300—2020:

Solar Thermal System Standard

3111.2.1

ICC 901/SRCC 100—2020:

Solar Thermal Collector Standard

3111.2.1

TIA

Telecommunications Industry Association,

1320 N. Courthouse Road #200,

Arlington, VA 22201

ANSI/TIA 222-I—2023:

Structural Standard for Antenna Supporting Structures, Antennas and Small Wind Turbine Support Structures

1609.1.1, 3108.1, 3108.2

TMS

The Masonry Society,

105 South Sunset Street, Suite Q,

Longmont, CO 80501-6172

216—2014(19):

Code Requirements for Determining Fire Resistance of Concrete and Masonry Construction Assemblies

Table 721.1(2), 722.1

302—2018:

Standard Method for Determining the Sound Transmission Ratings for Masonry Assemblies

1208.2.1

402—16:

Building Code Requirements for Masonry Structures

2109.1, 2109.1.1, 2109.2

402—2022:

Building Code Requirements for Masonry Structures

1404.7, 1404.11, 1413.2.2, 1604.3.4, 1705.4, 1807.1.6.3.2, 1808.9, 2101.2, 2101.2.2, 2101A.1.3, 2104A.1.3, 2103.2.4, 2103A.6, 2104A.1.3.10.2, 2106.1, 2106A, 2107.1, 2107.2, 2107.3, 2107.4, 2107A, 2107.5, 2107.6, 2108.1, 2108.2, 2108.3, 2108.4, 2110.1, 2114.1, 2114.4, 2115.1, 2115.2, 2115.5, 2115.6

403—2017:

Direct Design Handbook for Masonry Structures

2101.2

404—2023:

Standard for the Design of Architectural Cast Stone

2101.2

504—2023:

Standard for the Fabrication of Architectural Cast Stone

2103.1

602—2022:

Specification for Masonry Structures

1404.7.1, 1705.4, 1705A.4, 1705.4.1, 1807.1.6.3, 2101.2.2, 2101A.1.3, 2103.1, 2103.2.1, 2103.3, 2103A.3.1, 2103.4, 2104.1, 2104.2, 2104A, 2105.1, 2105A.1, 2105.2, 2105A.2, 2105.3, 2105A.3, 2106.6, 2115.3, 2115.4

604—2023:

Standard for the Installation of Architectural Cast Stone

2104.1

TPI

Truss Plate Institute,

2670 Crain Highway, Suite 203,

Waldorf, MD 20601

ANSI/TPI 1—2022:

National Design Standard for Metal Plate Connected Wood Truss Construction

2303.4.6, 2306.1

UBC

International Code Council, Inc.,

500 New Jersey Avenue, NW 6th Floor,

Washington, DC 20001

UBC Standard 15-2:

Test Standard for Determining the Fire Retardancy of Roof-Covering Materials

1505.6

UBC Standard 15-3:

Wood Shakes

1505.6

UBC Standard 15-4:

Wood Shingles

1505.6

UL

UL LLC,

333 Pfingsten Road,

Northbrook, IL 60062

9—2009:

Fire Tests of Window Assemblies—with Revisions through March 2020

Table 716.1(1), 716.1.1, 716.1.2.2.2, 716.2.1.3, 716.3.1.1, 716.3.1.2, 716.3.2.1.3, 716.3.4, 1013.5

10A—2009:

Tin Clad Fire Doors—with Revisions through July 20, 2018

716.2.1

10B—2008:

Fire Tests of Door Assemblies—with Revisions through May 2020

Table 716.1(1), 716.1.1, 716.1.2.2.1, 716.2.1.2, 716.2.2.2, 716.2.2.3.1, 716.2.5.1.1

10C—2016:

Positive Pressure Fire Tests of Door Assemblies—with Revisions through May 2021

Table 716.1(1), 716.1.1, 716.1.2.2.1, 716.2.1.1, 716.2.2.1, 716.2.2.2, 716.2.2.3.1, 716.2.5.1.1, 1010.2.8.3

10D—2017:

Fire Tests of Fire-Protective Curtain Assemblies

716.4

13—96:

Power-limited Circuit Cables

14B—2008:

Sliding Hardware for Standard Horizontally Mounted Tin Clad Fire Doors—with Revisions through September 2021

716.2.1

14C—2006:

Swinging Hardware for Standard Tin Clad Fire Doors Mounted Singly and in Pairs—with Revisions through October 2021

716.2.1

38—99:

Manually Actuated Signaling Boxes—with Revisions through February 2, 2005, as amended.*

*Amend Section 14.1.5 as follows:
14.1.5 A signaling box having a glass panel, disc, rod or similar part that must be broken to operate it for a signal or for access to its actuating means shall satisfactorily complete five part-breaking operations using the means provided with the box, without jamming of the mechanism or other interference by broken particles. It shall be practicable to remove and replace the broken parts. A signaling box shall not have a glass panel, disc, rod or similar part requiring a striking action by grasping a tool to operate it for a signal. The force required to activate controls shall be no greater than 5 pounds (22 N) of force.
*Add Appendix B chapter to UL 38 (1999) as follows:
Appendix B ,
14.1.5 Operation. Controls and operating mechanisms shall be operable with one hand and shall not require tight grasping, pinching or twisting of the wrist.

55A—2004:

Materials for Built-up Roof Coverings

1507.10.2

96A-2016:

Standard for Installation Requirements for Lightning Protection Systems

2703.2, 2703.2.1, 2703.3

103—2010:

Factory-built Chimneys, for Residential Type and Building Heating Appliances—with Revisions through September 2021

718.2.5.1

127—2011:

Factory-built Fireplaces—with Revisions through February 2020

718.2.5.1, 2111.12

193—04:

Alarm Valves for Fire-Protection Service

199—95:

Automatic Sprinklers for Fire Protection Service—with Revisions through August 19, 2005

199E—2004:

Outline of Investigation for Fire Testing of Sprinklers and Water Spray Nozzles for Protection of Deep Fat Fryers

904.14.4.1

217—2015:

Smoke Alarms—with Revisions through April 2021

907.2.11

228—97:

Door Closers/Holders, with or without Integral Smoke Detectors—with Revisions through January 26, 2006

260—04:

Dry Pipe and Deluge Valves for Fire Protection Service

262—04:

Gate Valves for Fire Protection Service

263—2011:

Fire Tests of Building Construction and Materials—with Revisions through August 2021

703.2, 703.2.1.3, 703.2.1.5, 703.2.2, 703.4, 703.4, 704.11, 705.8, 707.6, 712.1.13.2, 714.4.1, 714.5.1, 715.3, Table 716.1(1), Table 716.1(3), 716.1.2.3, 716.2.5.1.1, 716.2.5.4, 716.3.2.1.1, 717.3.1, 717.5.2, 717.5.3, 717.6.1, 717.6.2, Table 721.1(1), 2103.1, 2603.5.1

268—2016:

Smoke Detectors for Fire Alarm Systems—with Revisions through October 2019

407.9, 907.2.6.2, 907.2.11.7

268A—09:

Smoke Detectors for Duct Application—with Revisions through October 22, 2003

294—2018:

Access Control System Units—with Revisions through October 2018

1010.2.10, 1010.2.11, 1010.2.12.1, 1010.2.13

300—2019:

Fire Testing of Fire Extinguishing Systems for Protection of Commercial Cooking Equipment

904.14

300A—2006:

Outline of Investigation for Extinguishing System Units for Residential Range Top Cooking Surfaces

904.15.1.1

305—2012:

Panic Hardware—with Revisions through March 2017

1010.2.8.3

312—04:

Check Valves for Fire-Protection Service

325—2017:

Door, Drapery, Gate, Louver and Window Operators and Systems—with Revisions through February 2020

406.2.1, 3110.3

346—05:

Waterflow Indicators for Fire Protective Signaling Systems

464—03:

Audible Signal Appliances—with Revisions through October 10, 2003

497B—04:

Protectors for Data Communication and Fire Alarm Circuits

521—99:

Heat Detectors for Fire Protective Signaling Systems—with Revisions through July 20, 2005

539—00:

Single- and Multiple-Station Heat Detectors—with Revisions through August 15, 2005

555—2006:

Fire Dampers—with Revisions through October 2020

717.3.1

555C—2014:

Ceiling Dampers—with Revisions through January 2021

717.3.1

555S—2014:

Smoke Dampers—with Revisions through October 2020

717.3.1

580—2006:

Test for Uplift Resistance of Roof Assemblies—with Revisions through March 2019

1504.4.1, 1504.4.2

632—00:

Electrically Actuated Transmitters

641—2010:

Type L Low-temperature Venting Systems—with Revisions through April 2018

2113.11.1.4

710B—2011:

Recirculating Systems—with Revisions through February 2019

904.14

723—2018:

Standard for Test for Surface Burning Characteristics of Building Materials

202, 402.6.4.4, 406.7.2, 720.1, 720.4, 803.1.2, 803.5.2, 803.10, 803.11, 803.12, 803.13, 806.6, 1402.6, 1403.11.1, 1406.9, 1406.10.1, 1408.9, 1408.10.1, 1511.6.2, 1511.6.3, 2303.2, 2603.3, 2603.4.1.13, 2603.5.4, 2603.5.5, 2603.7, 2604.2.4, 2606.4, 2612.3, 2614.3, 3105.3

723S—2006:

Drop-Out Ceilings Installed Beneath Automatic Sprinklers

2606.7.4

753—04:

Alarm Accessories for Automatic Water Supply Valves for Fire Protection Service

790—Edition 9—2022:

Standard Test Methods for Fire Tests of Roof Coverings—with Revisions through October 2018

1505.1, 2603.6, 2610.2, 2610.3

793—2008:

Automatically Operated Roof Vents for Smoke and Heat—with Revisions through March 2017

910.3.1

813—96:

Commercial Audio Equipment—with Revisions through December 7, 1999

857—13:

Busways

1705A.14.3.1

864—2014:

Control Units and Accessories for Fire Alarm Systems as amended*—with Revisions through May 2020

909.12

*Amend No. 55.1 as follows:
RETARD-RESET-RESTART PERIOD — MAXIMUM 30 SECONDS —No alarm obtained from control unit. Maximum permissible time is 30 seconds.
*Amend Section 55.2.2 as follows:
Where an alarm verification feature is provided, the maximum retard-reset-restart period before an alarm signal can be confirmed and indicated at the control unit, including any control unit reset time and the power-up time for the detector to become operational for alarm, shall not exceed 30 seconds. (The balance of the section text is to remain unchanged).
*Add Section 55.2.9 as follows:
Smoke detectors connected to an alarm verification feature shall not be used as releasing devices.

Exception: Smoke detectors which operate their releasing function immediately upon alarm actuation independent of alarm verification feature.

*Amend Section 89.1.10 as follows:
The existing text of this section is to remain as printed with one editorial amendment as follows:
THE TOTAL DELAY (CONTROL UNIT PLUS SMOKE DETECTORS) SHALL NOT EXCEED 30 SECONDS.
(The balance of the section text is to remain unchanged).

924—2016:

Emergency Lighting and Power Equipment—with Revisions through May 2020

1013.5

1034-2011:

Burglary-Resistant Electric Locking Mechanisms—with Revisions through June 2020

1010.2.10, 1010.2.11, 1010.2.12.1, 1010.2.13, 1010.2.14

1040—1996:

Fire Test of Insulated Wall Construction—with Revisions through April 2017

1406.10.2, 2603.9

1256—2002:

Fire Test of Roof Deck Construction—with Revisions through August 2018

1508.1, 2603.3, 2603.4.1.5

1479—2015:

Fire Tests of Penetration Firestops—with Revisions through May 2021

202, 714.4.1.2, 714.4.2, 714.5.1.2, 714.5.4

1482—2011:

Solid-fuel Type Room Heaters—with Revisions through February 2020

2112.2, 2112.5

1489—2016:

Fire Tests of Fire Resistant Pipe Protection Systems Carrying Combustible Liquids—with Revisions through October 2021

403.4.8.2

1703—2002:

Flat-plate Photovoltaic Modules and Panels—with Revisions through November 2019

1507.17.5, 3111.3.1

1715—1997:

Fire Test of Interior Finish Material—with Revisions through April 2017

1406.10.2, 2603.9, 2614.4

1741—2010:

Inverters, Converters, Controllers and Interconnection System Equipment for Use with Distributed Energy Resources—with Revisions through June 2021

3111.3.1

1777—2015:

Chimney Liners—with Revisions through April 2019

2113.11.1, 2113.19

1784—2015:

Air Leakage Tests of Door Assemblies—with Revisions through February 2020

405.4.3, 710.5.2.2, 710.5.2.2.1, 716.2.1.4, 716.2.9.1, 716.2.9.3, 3006.3, 3007.6.3, 3008.6.3

1897—2015:

Uplift Tests for Roof Covering Systems—with Revisions through September 2020

1504.4.1, 1504.4.3

1975—2006:

Fire Tests for Foamed Plastics Used for Decorative Purposes

402.6.2, 402.6.4.5, 424.2

1994—2015:

Luminous Egress Path Marking Systems—with Revisions through July 2020

411.6, 1008.2.1, 1025.2.1, 1025.2.3, 1025.2.4, 1025.2.5, 1025.4

2034—2017:

Single and Multiple Station Carbon Monoxide Alarms—with Revisions through September 2018

915.4.2, 915.4.4

2075—2013:

Gas and Vapor Detectors and Sensors—with Revisions through August 2021

915.5.1, 915.5.3

2079—2015:

Tests for Fire Resistance of Building Joint Systems—with Revisions through July 2020

202, 715.3.1, 715.9

2196—2017:

Fire Test for Circuit Integrity of Fire-Resistive Power, Instrumentation, Control and Data Cables—with Revisions through December 2020

909.20.7.1, 913.2.2, 2702.3, 3007.8.1, 3008.8.2

2200—2020:

Stationary Engine Generator Assemblies

2702.1.1

2202—2009:

Electric Vehicle (EV) Charging System Equipment—with Revisions through February 2018

406.2.7

2525—2020:

Standard for Two-Way Emergency Communications Systems for Rescue Assistance

1009.8.1

2594—2016:

Electric Vehicle Supply Equipment

406.2.7

2703—2014:

Mounting Systems, Mounting Devices, Clamping/Retention Devices and Ground Lugs for Use with Flat-plate Photovoltaic Modules and Panels—with Revisions through March 2021

1505.9

7103—2019:

Outline of Investigation for Building-Integrated Photovoltaic Roof Coverings

Table 1504.2, 1507.16.6

8802—2020:

Outline of Investigation for Germicidal Systems

1211.1

61730-1—2017:

Photovoltaic (PV) Module Safety Qualification — Part 1: Requirements for Construction—with Revisions through April 2020

3111.3.1

61730-2—2017:

Photovoltaic (PV) Module Safety Qualification — Part 2: Requirements for Testing—with Revisions through April 2020

3111.3.1

ULC

Underwriters Laboratories of Canada,

13775 Commerce Parkway,

Richmond, BC V6V 2V4

CAN/ULC S 102.2—2018:

Standard Method of Test for Surface Burning Characteristics of Building Materials and Assemblies

720.2, 720.3, 720.4

USC

United States Code,

732 North Capitol Street NW,

Washington, DC 20401-0003

18 USC Part 1, Ch. 40:

Importation, Manufacture, Distribution and Storage of Explosive Materials

202

WCLIB

West Coast Lumber Inspection Bureau,

P.O. Box 23145,

Portland, OR 97223

AITC 104—03:

Typical Construction Details

2306.1

AITC 110—01:

Standard Appearance Grades for Structural Glued Laminated Timber

2306.1

AITC 111—05:

Recommended Practice for Protection of Structural Glued Laminated Timber During Transit, Storage and Erection

2303.1.3.1

AITC 113—10:

Standard for Dimensions of Structural Glued Laminated Timber

2306.1

AITC 119—96:

Standard Specifications for Structural Glued Laminated Timber of Hardwood Species

2306.1

AITC 200—20:

Manufacturing Quality Control Systems Manual for Structural Glued Laminated Timber

2306.1

AITC 404—05:

Standard for Radially Reinforcing Curved Glued Laminated Timber Members to Resist Radial Tension

2303.1.3.1

WDMA

Window and Door Manufacturers Association,

2025 M Street NW, Suite 800,

Washington, DC 20006

AAMA/WDMA/CSA 101/I.S.2/A440—22:

North American Fenestration Standard/Specification for Windows, Doors, and Skylights

1709.5.1, 2405.5

WDMA I.S. 11—2018:

Industry Standard for Analytical Method for Design Pressure (DP) Ratings of Fenestration Products

1709.5

WRI

Wire Reinforcement Institute, Inc.,

942 Main Street, Suite 300,

Hartford, CT 06103

WRI/CRSI—81:

Design of Slab-on-ground Foundations—with 1996 Update

1808.6.2